## Sheet1
FT50-61, 12 turns 0.9mm wire. Lsec = 9.25uH @ 1.5915MHz. 40pF variable ref cap with padding. No shield. L-bal coil and Herzog comp coil.					D. W. Knight. June 2007.			Version	1.01
		esd +/-					Show columns N-Q to see deatails of fitting procedure.					See sheet 2 for C1'm vs frequency
N =	12.00					Li' = N R0 C2 Rv
R0 =	49.89	0.06					from fit	from fit
C2+Cx/pF	11.00	0.20	< Adjusted to reproduce Li as measured elsewhere.					Ci =	Li =
L2 / nH	900.00	20.00					Li computed from Rv
L2 fit	1	< 1 to include L2 in fit, 0 to exclude it.
1/(N R0 C2)	1.52E+08					0.815	8.970
			Log (f)	f	x	Rv	esd Rv	Li'	Corr(L2)	y	esd y	fit	weight	w x	w x^2	w y	w x y	y calc	obs-calc	w e	w e^2	Li' calc	Li'					Computed	Computed
				/MHz	-(2 pi f)^2	Ohms	Ohms	/ uH					w					e			/ uH	obs-calc					Li /uH	Ci /pF
			6.20	1.59	-100.000	1362.8	13.63	8.9747	-110.3	111314.12	1114.2	1	8.05E-07	-0.000080545	0.008055	0.089658	-8.965813604	111403.59	-89.46	-0.000072	0.01	8.9675	0.0072					8.968	0.606
			6.23	1.70	-114.093	1362.6	6.81	8.9734	-125.9	111314.92	557.2	1	3.22E-06	-0.000367476	0.041926	0.358530	-40.905581450	111392.10	-77.19	-0.000249	0.02	8.9672	0.0062					8.966	0.388
			6.26	1.80	-127.910	1362.7	0.82	8.9740	-141.1	111291.50	66.9	1	2.24E-04	-0.028613938	3.660011	24.896305	-3184.488151846	111380.84	-89.34	-0.019986	1.79	8.9668	0.0072					8.966	0.410
			6.28	1.90	-142.517	1361.3	0.82	8.9648	-157.4	111389.83	66.9	1	2.23E-04	-0.031816104	4.534338	24.867126	-3543.990348048	111368.94	20.89	0.004663	0.10	8.9665	-0.0017					8.955	-0.436
Calibration freq. >>>			6.30	2.00	-157.914	1361.4	0.82	8.9655	-174.4	111364.64	66.9	1	2.23E-04	-0.035258480	5.567796	24.865157	-3926.548129478	111356.39	8.25	0.001842	0.02	8.9661	-0.0007					8.955	-0.342
			6.34	2.20	-191.076	1361.3	0.82	8.9648	-211.0	111336.20	66.9	1	2.23E-04	-0.042656494	8.150613	24.855155	-4749.212115309	111329.37	6.83	0.001525	0.01	8.9654	-0.0005					8.952	-0.325
			6.38	2.40	-227.396	1359.8	0.82	8.9549	-251.4	111418.87	67.0	1	2.23E-04	-0.050652941	11.518260	24.818823	-5643.693215108	111299.77	119.09	0.026528	3.16	8.9645	-0.0096					8.940	-0.814
			6.41	2.60	-266.874	1361.4	0.82	8.9655	-294.7	111244.33	66.9	1	2.23E-04	-0.059586832	15.902182	24.838292	-6628.696966632	111267.60	-23.28	-0.005197	0.12	8.9636	0.0019					8.948	-0.202
			6.45	2.80	-309.511	1361.7	0.82	8.9674	-341.7	111172.75	66.9	1	2.23E-04	-0.069137082	21.398673	24.833251	-7686.159311006	111232.86	-60.11	-0.013428	0.81	8.9626	0.0048					8.947	-0.095
			6.48	3.00	-355.306	1360.7	0.82	8.9609	-392.5	111203.86	67.0	1	2.23E-04	-0.079250021	28.157989	24.803729	-8812.907862563	111195.54	8.31	0.001854	0.02	8.9615	-0.0007					8.938	-0.313
			6.54	3.50	-483.611	1360.4	0.82	8.9589	-534.4	111086.60	67.0	1	2.23E-04	-0.107820525	52.143150	24.766650	-11977.415021753	111090.99	-4.39	-0.000979	0.00	8.9585	0.0004					8.927	-0.281
			6.60	4.00	-631.655	1359.4	0.82	8.9523	-698.5	111004.60	67.0	1	2.23E-04	-0.140619847	88.823184	24.711998	-15609.449364688	110970.35	34.25	0.007625	0.26	8.9550	-0.0027					8.911	-0.345
			6.65	4.50	-799.438	1359.2	0.82	8.9510	-884.2	110835.36	67.0	1	2.23E-04	-0.177919629	142.235705	24.667062	-19719.785870503	110833.62	1.74	0.000386	0.00	8.9511	-0.0001					8.899	-0.293
			6.70	5.00	-986.960	1358.8	0.82	8.9484	-1091.9	110660.52	67.1	1	2.22E-04	-0.219524598	216.662094	24.613658	-24292.706277312	110680.81	-20.29	-0.004513	0.09	8.9467	0.0016					8.884	-0.271
			6.78	6.00	-1421.223	1359.8	0.82	8.9549	-1571.2	110099.05	67.0	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	110326.94	-227.89	0.000000	0.00	8.9367	0.0182					8.863	-0.130
			6.85	7.00	-1934.442	1366.0	0.82	8.9958	-2128.9	109034.52	66.7	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	109908.72	-874.20	0.000000	0.00	8.9256	0.0702					8.870	0.166
			6.90	8.00	-2526.619	1373.2	0.82	9.0432	-2766.0	107814.55	66.3	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	109426.16	-1611.61	0.000000	0.00	8.9133	0.1299					8.878	0.358
			6.95	9.00	-3197.752	1378.3	0.83	9.0768	-3487.8	106683.61	66.1	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	108879.26	-2195.65	0.000000	0.00	8.8994	0.1774					8.867	0.411	Ci computed from Rv
			7.00	10.00	-3947.842	1383.7	0.83	9.1123	-4289.1	105452.34	65.8	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	108268.02	-2815.68	0.000000	0.00	8.8844	0.2280					8.853	0.442
			7.08	12.00	-5684.892	1396.1	0.84	9.1940	-6121.4	102645.28	65.3	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	106852.52	-4207.23	0.000000	0.00	8.8516	0.3424					8.818	0.478
			7.15	14.00	-7737.770	1409.2	0.85	9.2803	-8254.5	99501.12	64.7	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	105179.65	-5678.53	0.000000	0.00	8.8157	0.4646					8.767	0.482
			7.20	16.00	-10106.475	1415.1	0.85	9.3191	-10736.4	96569.91	64.4	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	103249.41	-6679.50	0.000000	0.00	8.7730	0.5461					8.655	0.413
			7.26	18.00	-12791.007	1408.1	0.84	9.2730	-13655.9	94183.94	64.7	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	101061.82	-6877.88	0.000000	0.00	8.7171	0.5560					8.456	0.285
			7.30	20.00	-15791.367	1407.5	0.84	9.2691	-16866.3	91019.50	64.7	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	98616.85	-7597.36	0.000000	0.00	8.6593	0.6098					8.281	0.228
			7.34	22.00	-19107.554	1396.3	0.84	9.1953	-20571.9	88179.26	65.3	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	95914.53	-7735.27	0.000000	0.00	8.5847	0.6106					8.044	0.143
			7.38	24.00	-22739.569	1387.3	0.83	9.1360	-24641.1	84815.58	65.7	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	92954.83	-8139.25	0.000000	0.00	8.5037	0.6323					7.813	0.089
Calibration freq. >>>			7.41	26.00	-26687.410	1370.7	0.82	9.0267	-29269.3	81512.98	66.5	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	89737.78	-8224.80	0.000000	0.00	8.4029	0.6239					7.545	0.026
			7.45	28.00	-30951.079	1337.7	0.80	8.8094	-34782.8	78732.33	68.1	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	86263.36	-7531.03	0.000000	0.00	8.2613	0.5481					7.208	-0.066
			7.48	30.00	-35530.576	1289.6	0.77	8.4926	-41418.6	76330.53	70.6	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	82531.57	-6201.05	0.000000	0.00	8.0678	0.4249					6.817	-0.176
Derived parameters		esd +/-	sums >>>>>>>>>>>>					14	2.68E-03	-1.043304512	598.803977	297.985393	-115824.924029301			-2.88E-14	6.39
D	5.17E-01
a	111485.08	24.85
Li / uH	8.969810	0.0020		y obs - y calc
b = Ci / pF	0.814890	0.0526
chi^2/(n-2)	0.533
esd of fit	0.73
Rv0	1362.06
				Incremental error analysis
X-over /MHz	58.87					R0	49.83	49.89	49.95	err contrib.
				Li	8.994662	8.969810	9.016323	0.010831
				Ci	6.173432	0.814890	6.158601	-0.007416

				C2	10.1	10.3	10.5
				Li	8.828914	8.969810	9.182070	0.176578
				Ci	6.289328	0.814890	6.047431	-0.120949

				Accuracy
				esd Li	0.176921
				esd Ci	0.132093

				Li' vs Log(f)

## Sheet2
Variation of C1'm (nominal capacitance, measured @ 1.5915MHz) with frequency					To see details of fitting calculation show columns N-P
			Log(f)	f	Dial	Ci'm	esd C1'm	y	esd y	fit	weight	x	wx	wy	wxy	wx^2	y calc	e	we	we^2		<Ci'm>	obs-calc
				/MHz		/pF		1/C1'm			w					obs-calc
			6.20	1.59	11.980	117.37	0.63	0.008520	0.000045	1	4.86E+08	0.0	34740	4138970	295.99	2.48E+00	0.008528	-0.000007	-3602.4	0.027		117.27	0.102
			6.23	1.70	11.985	117.38	0.13	0.008519	0.000009	1	1.21E+10	14.1	171223369356	103507855	1458697575	2.41E+12	0.008528	-0.000008	-101301.1	0.845		117.27	0.115
			6.26	1.80	11.985	117.38	0.10	0.008519	0.000007	1	1.90E+10	27.9	529848957810	161731023	4513924664	1.48E+13	0.008528	-0.000008	-158275.9	1.320		117.27	0.115
			6.28	1.90	11.980	117.37	0.10	0.008520	0.000007	1	1.90E+10	42.5	806801193352	161678499	6874098894	3.43E+13	0.008528	-0.000007	-140695.6	1.043		117.27	0.102
			6.30	2.00	11.985	117.38	0.08	0.008519	0.000006	1	2.97E+10	57.9	1717877643122	252704723	14635058065	9.95E+13	0.008528	-0.000008	-247282.0	2.061		117.27	0.115
			6.34	2.20	11.980	117.37	0.08	0.008520	0.000006	1	2.96E+10	91.1	2700379554751	252622655	23007744984	2.46E+14	0.008528	-0.000007	-219797.8	1.629		117.27	0.102
			6.38	2.40	11.970	117.34	0.08	0.008522	0.000006	1	2.96E+10	127.4	3773996866412	252458570	32162132579	4.81E+14	0.008528	-0.000006	-164907.2	0.918		117.27	0.077
			6.41	2.60	11.965	117.33	0.08	0.008523	0.000006	1	2.96E+10	166.9	4941372702612	252376555	42115111166	8.25E+14	0.008528	-0.000005	-137471.4	0.638		117.27	0.064
			6.45	2.80	11.970	117.34	0.08	0.008522	0.000006	1	2.96E+10	209.5	6206592300316	252458570	52892795487	1.30E+15	0.008528	-0.000006	-164841.2	0.917		117.27	0.077
			6.48	3.00	11.965	117.33	0.08	0.008523	0.000006	1	2.96E+10	255.3	7559956175644	252376555	64433187680	1.93E+15	0.008528	-0.000005	-137400.4	0.638		117.27	0.064
			6.54	3.50	11.960	117.32	0.08	0.008524	0.000006	1	2.96E+10	383.6	11354319637135	252294557	96782870257	4.36E+15	0.008528	-0.000004	-109911.1	0.408		117.27	0.051
			6.60	4.00	11.950	117.29	0.08	0.008526	0.000006	1	2.96E+10	531.7	15722577480573	252130614	134046421588	8.36E+15	0.008528	-0.000002	-55073.3	0.103		117.27	0.026
			6.65	4.50	11.940	117.27	0.08	0.008528	0.000006	1	2.95E+10	699.4	20666494555539	251966743	176235103990	1.45E+16	0.008528	0.000000	-291.0	0.000		117.27	0.000
			6.70	5.00	11.930	117.24	0.08	0.008529	0.000006	1	2.95E+10	887.0	26184561794756	251802943	223339249136	2.32E+16	0.008528	0.000002	54435.9	0.100		117.27	-0.025
			6.78	6.00	11.905	117.18	0.08	0.008534	0.000006	1	2.95E+10	1321.2	38920233436308	251393753	332147217006	5.14E+16	0.008528	0.000006	190914.0	1.237		117.27	-0.089
			6.85	7.00	11.880	117.11	0.08	0.008539	0.000006	1	2.94E+10	1834.4	53921395526536	250985007	460417553493	9.89E+16	0.008528	0.000011	327010.7	3.638		117.27	-0.153
			6.90	8.00	11.905	117.18	0.08	0.008534	0.000006	1	2.95E+10	2426.6	71482683006749	251393753	610036788799	1.73E+17	0.008528	0.000007	191797.7	1.249		117.27	-0.089
			6.95	9.00	11.895	117.15	0.08	0.008536	0.000006	1	2.94E+10	3097.8	91173593959224	251230201	778248814527	2.82E+17	0.008528	0.000008	246661.0	2.067		117.27	-0.115
			7.00	10.00	11.910	117.19	0.08	0.008533	0.000006	1	2.95E+10	3847.8	113397869869130	251475556	967638144209	4.36E+17	0.008528	0.000006	165744.2	0.932		117.27	-0.077
			7.08	12.00	11.910	117.19	0.08	0.008533	0.000006	1	2.95E+10	5584.9	164589635174928	251475556	1404463852103	9.19E+17	0.008527	0.000006	167133.5	0.948		117.27	-0.078
			7.15	14.00	11.925	117.23	0.08	0.008530	0.000006	1	2.95E+10	7637.8	225382045783049	251721069	1922587595335	1.72E+18	0.008527	0.000003	87103.8	0.257		117.27	-0.041
			7.20	16.00	11.930	117.24	0.08	0.008529	0.000006	1	2.95E+10	10006.5	295407944587009	251802943	2519659830476	2.96E+18	0.008527	0.000002	61742.2	0.129		117.27	-0.029
			7.26	18.00	11.925	117.23	0.08	0.008530	0.000006	1	2.95E+10	12691.0	374497431211636	251721069	3194593931521	4.75E+18	0.008527	0.000003	91150.6	0.282		117.27	-0.042
			7.30	20.00	11.920	117.22	0.08	0.008531	0.000006	1	2.95E+10	15691.4	462833940032504	251639214	3948563265112	7.26E+18	0.008527	0.000004	120792.1	0.495		117.27	-0.056
			7.34	22.00	11.915	117.20	0.08	0.008532	0.000006	1	2.95E+10	19007.6	560405386650935	251557376	4781490434131	1.07E+19	0.008527	0.000005	150666.6	0.770		117.27	-0.070
			7.38	24.00	11.910	117.19	0.08	0.008533	0.000006	1	2.95E+10	22639.6	667199694540945	251475556	5693298075063	1.51E+19	0.008527	0.000006	180773.6	1.109		117.27	-0.084
			7.41	26.00	11.925	117.23	0.08	0.008530	0.000006	1	2.95E+10	26587.4	784564741140249	251721069	6692611356032	2.09E+19	0.008527	0.000003	102279.2	0.355		117.28	-0.048
			7.45	28.00	11.950	117.29	0.08	0.008526	0.000006	1	2.96E+10	30851.1	912356277444930	252130614	7778501607403	2.81E+19	0.008527	-0.000001	-30740.0	0.032		117.28	0.014
			7.48	30.00	12.030	117.50	0.08	0.008511	0.000006	1	2.98E+10	35430.6	1055069855567240	253444143	8979671936825	3.74E+19	0.008527	-0.000016	-466614.6	7.312		117.28	0.216
			sums >>>>>>>					29	7.89E+11		5973538730197490	6729415710	50936426798396	1.31E+20			-9.37E-07	31.458
Derived parameters		esd					Chi^2(/n-2) >>>>>		1.165
Denom	6.76E+31					esd of fit >>>>>>		1.079
a	0.008528	0.000002					Ci'measured vs Log(f) (with expectation value)
C1' /pF	117.266	0.021
b	-2.71E-11	1.17E-10
L1 /nH	-0.027	0.117

KT	12.04	< Transformer const. = ( N R0 / k Ri) + (1/N) -1
L2 / nH	900.00	20.00
L1(true)	74.73	1.67	< corrected for L2

			C1'm obs-calc vs Log(f)

## Sheet3
Stray capacitance of voltage sampling network				Predicted C1 = C1' + C1s = C2 [( (1+Cx/C2) N R0 / k Ri ) + (1/N) -1]
		esd	Deriv dC1/dpar	(der*esd)^2
N =	12
R0 =	49.89	0.06	2.77	0.03
C2+Cx /pF =	11	0.2	11.63	5.41
Cx /pF	0.35	0.05
C2 /pF	10.65
1+Cx/C2	1.03
Ri =	49.77	0.06	-2.77	0.03
k =	0.959	0.0112	-143.87	2.6
				8.06	<<< sum
KT	12.039	< Transformer const. = [ (1+Cx/C2) N R0 / k Ri ] + (1/N) -1

C1' =	117.266	1.173
C1 pred =	128.213	2.839
C1s =	10.947	3.072

C1 prediction for bridge evaluation (see sheet 5)
R0 =	50
C1 pred =	128.196

Self capacitance of transformer secondary				Ci' = Ci apparent + ( Csh * Ro / Ri ) + [ L2 / ( N Ro Rv ) ] + ( LH / Ri^2 ) - Cis - [ L0 / ( R0 Ri ) ] + (C0 Ro / Ri) - [(N-1)Cx R0/Ri] -Cx C2/(N(Cx+C2)
parameter		esd +/-
Csh / pF	0.00	0.00	< shield protrusion capacitance. Set to 0 for gen. side earth.
L2 / nH	900.00	20.00	< inductance of upper voltage sampling arm
L2 fit	1		< =1 when L2 is included in fit on sheet 1, 0 otherwise.
RV0	1362.06		< optimal Rv
LH / nH	43.00	2.00	< total Herzog commpensation inductance
Cis / pF	0.40	0.10	< strays accross sec winding
L0 / nH	13.00	3.00	< inductance of pri. transmission line
C0 / pF	3.50	0.50	< capacitance of pri. transmission line
Cneut /pF	0.00	0.50	< neutralising capacitor.

Series for Ci'		esd +/-	Variance
Ci apparent	0.81	0.05	0.003	< from fit on sheet 1
Corr for Csh	0.00	0.00	0.000
Corr for Cx	-3.89	0.55	0.304
Corr for L2	0.00	0.02	0.001	< inclusion depends on whether L2 is included in fit on sheet 1.
Corr for LH	17.36	0.81	0.652
Corr for Cis	-0.40	0.10	0.010
Corr for L0	-5.24	1.21	1.460
Corr for C0	3.51	0.71	0.502
Ci' / pF	12.16	1.71	2.93	Only valid if parameters have been filled in correctly!

lw / mm	228.00	< length of secondary winding wire
Ci' pred / pF	7.64	< predicted Ci' if phase velocity = c

## Sheet4
Data reduction for 8-48 reference capacitor with 82pF in parallel. Data for dial readings 0 and 18 are excluded from fit (end effects).
		Dial	C /pF	esd C	fit	w	wy	wx	wx^2	wxy	y calc	obs-calc	we	we^2
		x	y					C calc	e
		0	89.0	0.20	0	0.000	0.00	0.00	0.00	0.00	86.92	2.08	0.00	0.000
		1	90.0	0.20	1	25.000	2250.00	25.00	25.00	2250.00	89.46	0.54	13.48	7.269
		2	92.0	0.20	1	25.000	2300.00	50.00	100.00	4600.00	92.00	0.00	-0.06	0.000
		3	94.5	0.20	1	25.000	2362.50	75.00	225.00	7087.50	94.54	-0.04	-1.10	0.049
		4	97.0	0.20	1	25.000	2425.00	100.00	400.00	9700.00	97.09	-0.09	-2.14	0.184
		5	99.5	0.20	1	25.000	2487.50	125.00	625.00	12437.50	99.63	-0.13	-3.19	0.406
		6	102.0	0.20	1	25.000	2550.00	150.00	900.00	15300.00	102.17	-0.17	-4.23	0.715
		7	104.5	0.20	1	25.000	2612.50	175.00	1225.00	18287.50	104.71	-0.21	-5.27	1.111
		8	107.0	0.20	1	25.000	2675.00	200.00	1600.00	21400.00	107.25	-0.25	-6.31	1.593
		9	110.0	0.20	1	25.000	2750.00	225.00	2025.00	24750.00	109.79	0.21	5.15	1.060
		10	112.0	0.20	1	25.000	2800.00	250.00	2500.00	28000.00	112.34	-0.34	-8.39	2.819
		11	115.0	0.20	1	25.000	2875.00	275.00	3025.00	31625.00	114.88	0.12	3.06	0.375
		12	117.5	0.20	1	25.000	2937.50	300.00	3600.00	35250.00	117.42	0.08	2.02	0.164
		13	120.0	0.20	1	25.000	3000.00	325.00	4225.00	39000.00	119.96	0.04	0.98	0.038
		14	122.5	0.20	1	25.000	3062.50	350.00	4900.00	42875.00	122.50	0.00	-0.06	0.000
		15	125.0	0.20	1	25.000	3125.00	375.00	5625.00	46875.00	125.04	-0.04	-1.10	0.049
		16	128.0	0.20	1	25.000	3200.00	400.00	6400.00	51200.00	127.59	0.41	10.36	4.289
		17	130.0	0.20	1	25.000	3250.00	425.00	7225.00	55250.00	130.13	-0.13	-3.19	0.406
		18	131.0	0.20	0	0.000	0.00	0.00	0.00	0.00	132.67	-1.67	0.00	0.000
		sums >>>>>>>>>			17	425.000	46662.50	3825.00	44625.00	445887.50			-1.49E-11	20.527
D	4335000
a	86.919118		Capacitance vs dial reading
esd a	0.014087
b	2.541667
esd b	0.000134
Chi^2/n-2)	1.368464
esd fit	1.169814

## Sheet5
Bridge performance evaluation				FT50-61, 12 turns 0.9mm wire. Lsec = 9.25uH @ 1.5915MHz. 40pF variable ref cap with padding. No shield. L-bal coil and Herzog comp coil.
N	12
R0	50
C2 /pF	11
Li /uH	8.970
Rv0	1359.06	<<< Guide value (estimated value for zero phase error at 0Hz)
Rvset	1363.00	<<< Selected value
C1s /pF	10.947
L1 /nH	-0.027
C1 pred	128.196								| << - - show hidden columns for details of fit - - >> |
Cv set 0	139.196	<<< Guide value (est. value for zero magnitude error at 0Hz)
C1 set	128.250
Cv set	139.250	<<< Selected value
			x						y				| - - - Determining the gradient of Phi vs f: y=phi, x=f
			f	Rv	C1'm	C1'0	Cv	Xcv	Xcvset	U	Rbal	Xbal	|Zbal|	(|Zbal|/R0)-1	Phi				esd phi	fit	weight					Phi calc	obs-calc
		Log(f)	/MHz	/Ohms	/pF	/pF	/pF				Ohms	Ohms	Ohms	Magn. err.	/deg.					w	wx	wy	wxy	wx^2	Y calc	e	we	we^2
		6.20	1.6	1362.8	117.37	117.37	139.31	-717.8	-718.1	4.21E-07	49.980	-0.007	49.980	-0.0004	-0.008				0.0500	1	400.00	636.6	-3.0	-4.8	1013.2	0.003	-0.010	-4.060	0.041202
		6.23	1.7	1362.6	117.38	117.38	139.33	-671.9	-672.3	4.33E-07	49.975	-0.005	49.975	-0.0005	-0.006				0.0500	1	400.00	680.0	-2.4	-4.1	1156.0	0.003	-0.009	-3.415	0.029155
		6.26	1.8	1362.7	117.38	117.38	139.33	-634.6	-635.0	4.42E-07	49.975	-0.006	49.975	-0.0005	-0.007				0.0500	1	400.00	720.0	-3.0	-5.3	1296.0	0.002	-0.010	-3.951	0.039029
		6.28	1.9	1361.3	117.37	117.37	139.31	-601.3	-601.5	4.51E-07	49.970	0.014	49.970	-0.0006	0.017				0.0500	1	400.00	760.0	6.6	12.6	1444.0	0.002	0.014	5.651	0.079839
		6.30	2.0	1361.4	117.38	117.38	139.33	-571.2	-571.5	4.58E-07	49.968	0.011	49.968	-0.0006	0.013				0.0500	1	400.00	800.0	5.0	10.1	1600.0	0.002	0.010	4.098	0.041993
		6.34	2.2	1361.3	117.37	117.37	139.31	-519.3	-519.5	4.70E-07	49.972	0.013	49.972	-0.0006	0.015				0.0500	1	400.00	880.0	6.0	13.1	1936.0	0.002	0.013	5.065	0.064135
		6.38	2.4	1359.8	117.34	117.34	139.29	-476.1	-476.2	4.80E-07	49.975	0.032	49.975	-0.0005	0.037				0.0500	1	400.00	960.0	14.8	35.4	2304.0	0.002	0.035	13.907	0.483542
		6.41	2.6	1361.4	117.33	117.33	139.28	-439.5	-439.6	4.88E-07	49.986	0.014	49.986	-0.0003	0.016				0.0500	1	400.00	1040.0	6.6	17.1	2704.0	0.002	0.014	5.770	0.083239
		6.45	2.8	1361.7	117.34	117.34	139.29	-408.1	-408.2	4.94E-07	49.983	0.009	49.983	-0.0003	0.011				0.0500	1	400.00	1120.0	4.2	11.8	3136.0	0.002	0.009	3.463	0.029984
		6.48	3.0	1360.7	117.33	117.33	139.28	-380.9	-381.0	5.00E-07	49.985	0.019	49.985	-0.0003	0.022				0.0500	1	400.00	1200.0	8.9	26.7	3600.0	0.002	0.020	8.182	0.167365
		6.54	3.5	1360.4	117.32	117.32	139.26	-326.5	-326.6	5.10E-07	49.990	0.021	49.990	-0.0002	0.023				0.0500	1	400.00	1400.0	9.4	32.9	4900.0	0.002	0.022	8.798	0.193510
		6.60	4.0	1359.4	117.29	117.29	139.24	-285.8	-285.7	5.17E-07	49.998	0.027	49.998	0.0000	0.031				0.0500	1	400.00	1600.0	12.6	50.3	6400.0	0.001	0.030	12.079	0.364732
		6.65	4.5	1359.2	117.27	117.27	139.21	-254.1	-254.0	5.22E-07	50.008	0.028	50.008	0.0002	0.032				0.0500	1	400.00	1800.0	12.6	56.8	8100.0	0.001	0.031	12.263	0.375968
		6.70	5.0	1358.8	117.24	117.24	139.19	-228.7	-228.6	5.25E-07	50.017	0.029	50.018	0.0004	0.033				0.0500	1	400.00	2000.0	13.2	66.2	10000.0	0.001	0.032	12.978	0.421078
		6.78	6.0	1359.8	117.18	117.18	139.12	-190.7	-190.5	5.30E-07	50.042	0.022	50.042	0.0008	0.026				0.0500	1	400.00	2400.0	10.2	61.4	14400.0	0.000	0.026	10.219	0.261093
		6.85	7.0	1366.0	117.11	117.11	139.06	-163.5	-163.3	5.30E-07	50.069	-0.005	50.069	0.0014	-0.006				0.0500	1	400.00	2800.0	-2.3	-15.9	19600.0	-0.001	-0.005	-2.055	0.010556
		6.90	8.0	1373.2	117.18	117.18	139.12	-143.0	-142.9	5.29E-07	50.049	-0.034	50.049	0.0010	-0.039				0.0500	1	400.00	3200.0	-15.5	-124.2	25600.0	-0.001	-0.038	-15.073	0.568007
		6.95	9.0	1378.3	117.15	117.15	139.10	-127.1	-127.0	5.28E-07	50.059	-0.046	50.059	0.0012	-0.053				0.0500	1	400.00	3600.0	-21.2	-191.0	32400.0	-0.002	-0.051	-20.548	1.055524
		7.00	10.0	1383.7	117.19	117.19	139.14	-114.4	-114.3	5.27E-07	50.046	-0.059	50.046	0.0009	-0.068				0.0500	1	400.00	4000.0	-27.0	-270.2	40000.0	-0.002	-0.065	-26.113	1.704761
		7.08	12.0	1396.1	117.19	117.19	139.14	-95.3	-95.2	5.24E-07	50.046	-0.080	50.046	0.0009	-0.091				0.0500	1	400.00	4800.0	-36.5	-438.3	57600.0	-0.003	-0.088	-35.149	3.088543
		7.15	14.0	1409.2	117.23	117.23	139.18	-81.7	-81.6	5.19E-07	50.033	-0.096	50.033	0.0007	-0.110				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.005	-0.106	0.000	0.000000
		7.20	16.0	1415.1	117.24	117.24	139.19	-71.5	-71.4	5.17E-07	50.027	-0.095	50.027	0.0005	-0.109				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.006	-0.103	0.000	0.000000
		7.26	18.0	1408.1	117.23	117.23	139.18	-63.5	-63.5	5.20E-07	50.030	-0.073	50.030	0.0006	-0.084				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.007	-0.077	0.000	0.000000
		7.30	20.0	1407.5	117.22	117.22	139.16	-57.2	-57.1	5.21E-07	50.034	-0.065	50.034	0.0007	-0.074				0.0500	1	400.00	8000.0	-29.7	-594.9	160000.0	-0.008	-0.066	-26.505	1.756226
		7.34	22.0	1396.3	117.20	117.20	139.15	-52.0	-52.0	5.25E-07	50.038	-0.044	50.038	0.0008	-0.050				0.0500	1	400.00	8800.0	-20.2	-444.2	193600.0	-0.009	-0.041	-16.485	0.679371
		7.38	24.0	1387.3	117.19	117.19	139.14	-47.7	-47.6	5.29E-07	50.042	-0.029	50.042	0.0008	-0.033				0.0500	1	400.00	9600.0	-13.4	-320.9	230400.0	-0.010	-0.023	-9.200	0.211620
		7.41	26.0	1370.7	117.23	117.23	139.18	-44.0	-44.0	5.35E-07	50.027	-0.008	50.027	0.0005	-0.009				0.0500	1	400.00	10400.0	-3.8	-97.6	270400.0	-0.012	0.002	0.883	0.001950
		7.45	28.0	1337.7	117.29	117.29	139.24	-40.8	-40.8	5.48E-07	50.003	0.028	50.003	0.0001	0.033				0.0500	1	400.00	11200.0	13.0	364.7	313600.0	-0.013	0.045	18.128	0.821563
		7.48	30.0	1289.6	117.50	117.50	139.44	-38.0	-38.1	5.68E-07	49.929	0.077	49.929	-0.0014	0.089				0.0500	1	400.00	12000.0	35.5	1065.0	360000.0	-0.014	0.103	41.067	4.216254
									Sums >>>>		26	1.04E+04	96396.6	-19.3	-687.0	1767189.2		-2.86E-01	0.00E+00	16.790237
									Parameter		esd					Chi^2/n-2 >>>>>>>>>>>			0.699593
phase error vs. f									D	9.09E+09					esd of an obs of unit weight >>>			0.836
									a	0.003542	0.011665	<<< phase intercept at 0Hz
									b	-0.000582	0.000895	<<< gradient [degrees / MHz]
									tp	0.0016	0.002486	ns <<< time delay

									Phase error, obs-calc

Magnitude error vs f