## Sheet1
FT50-61, 12 turns 0.9mm wire + 2 turn quadrature winding with 250 Ohm pot + 120 Ohms. Gen side shield earth. Lsec = 9.25uH @ 1.5915MHz. L-bal coil.					D. W. Knight. July 2007.			Version	1.01
		esd +/-					Show columns N-Q to see deatails of fitting procedure.					See sheet 2 for C1'm vs frequency
N =	12.00					Li' = N R0 C2 Rv
R0 =	49.89	0.06					from fit	from fit
C2	10.30	0.20					Ci =	Li =
L2 / nH	900.00	20.00					Li computed from Rv
L2 fit	1	< 1 to include L2 in fit, 0 to exclude it.
1/(N R0 C2)	1.62E+08					0.945	9.366
Rq	80.78	< DC resistance of the quadrature network.
			Log (f)	f	x	Rv + Rq	Rv	esd Rv	Li'	Corr(L2)	y	esd y	fit	weight	w x	w x^2	w y	w x y	y calc	obs-calc	w e	w e^2	Li' calc	Li'					Computed	Computed
				/MHz	-(2 pi f)^2		Ohms	Ohms	/ uH					w					e			/ uH	obs-calc					Li /uH	Ci /pF
			6.20	1.59	-100.000	1599.7	1518.9	15.19	9.3663	-99.0	106667.07	1067.7	1	8.77E-07	-0.000087727	0.008773	0.093576	-9.357598513	106671.64	-4.57	-0.000004	0.00	9.3659	0.0004					9.358	0.001
			6.23	1.70	-114.093	1600.4	1519.6	7.60	9.3706	-112.9	106603.99	533.6	1	3.51E-06	-0.000400730	0.045720	0.374427	-42.719383495	106658.31	-54.32	-0.000191	0.01	9.3658	0.0048					9.361	0.432
			6.26	1.80	-127.910	1599.8	1519.0	0.91	9.3669	-126.6	106632.42	64.1	1	2.44E-04	-0.031174047	3.987475	25.988290	-3324.164084239	106645.25	-12.83	-0.003126	0.04	9.3658	0.0011					9.356	0.056
			6.28	1.90	-142.517	1599.9	1519.1	0.91	9.3675	-141.0	106610.95	64.1	1	2.44E-04	-0.034738619	4.950847	25.986478	-3703.517095854	106631.44	-20.49	-0.004995	0.10	9.3657	0.0018					9.356	0.100
Calibration freq. >>>			6.30	2.00	-157.914	1599.4	1518.6	0.91	9.3644	-156.3	106630.81	64.1	1	2.44E-04	-0.038466211	6.074341	25.974212	-4101.683117455	106616.88	13.92	0.003392	0.05	9.3656	-0.0012					9.351	-0.133
			6.34	2.20	-191.076	1599.8	1519.0	0.91	9.3669	-189.1	106569.91	64.1	1	2.44E-04	-0.046568637	8.898128	25.973055	-4962.815492336	106585.53	-15.62	-0.003807	0.06	9.3655	0.0014					9.351	0.038
			6.38	2.40	-227.396	1599.9	1519.1	0.91	9.3675	-225.0	106526.95	64.1	1	2.44E-04	-0.055427824	12.604048	25.966004	-5904.557208341	106551.19	-24.24	-0.005908	0.14	9.3654	0.0021					9.349	0.062
			6.41	2.60	-266.874	1599.4	1518.6	0.91	9.3644	-264.2	106522.95	64.1	1	2.44E-04	-0.065007896	17.348924	25.947938	-6924.832603036	106513.87	9.08	0.002211	0.02	9.3652	-0.0008					9.342	-0.078
			6.45	2.80	-309.511	1599.0	1518.2	0.91	9.3620	-306.5	106508.79	64.1	1	2.43E-04	-0.075354061	23.322895	25.930825	-8025.870130776	106473.56	35.24	0.008579	0.30	9.3650	-0.0031					9.336	-0.159
			6.48	3.00	-355.306	1599.6	1518.8	0.91	9.3657	-351.7	106421.39	64.1	1	2.44E-04	-0.086571772	30.759449	25.930028	-9213.088386011	106430.26	-8.87	-0.002161	0.02	9.3649	0.0008					9.336	-0.019
			6.54	3.50	-483.611	1599.0	1518.2	0.91	9.3620	-478.9	106336.40	64.1	1	2.43E-04	-0.117740721	56.940663	25.888854	-12520.124788819	106308.95	27.45	0.006683	0.18	9.3644	-0.0024					9.322	-0.101
			6.60	4.00	-631.655	1598.9	1518.1	0.91	9.3613	-625.5	106196.81	64.1	1	2.43E-04	-0.153763541	97.125460	25.851462	-16329.197278995	106168.99	27.82	0.006772	0.19	9.3638	-0.0024					9.309	-0.089
			6.65	4.50	-799.438	1599.2	1518.4	0.91	9.3632	-791.5	106009.71	64.1	1	2.44E-04	-0.194683903	155.637701	25.816118	-20638.384706302	106010.36	-0.64	-0.000157	0.00	9.3631	0.0001					9.297	-0.044
			6.70	5.00	-986.960	1599.5	1518.7	0.91	9.3650	-976.9	105803.15	64.1	1	2.44E-04	-0.240445481	237.310177	25.775998	-25439.890021881	105833.07	-29.91	-0.007287	0.22	9.3624	0.0026					9.284	-0.014
			6.78	6.00	-1421.223	1600.6	1519.8	0.91	9.3718	-1405.8	105297.03	64.0	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	105422.49	-125.46	0.000000	0.00	9.3608	0.0110					9.255	0.045
			6.85	7.00	-1934.442	1607.4	1526.6	0.92	9.4138	-1904.9	104322.63	63.7	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	104937.27	-614.65	0.000000	0.00	9.3596	0.0542					9.254	0.278
			6.90	8.00	-2526.619	1617.8	1537.0	0.92	9.4779	-2471.2	103037.56	63.3	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	104377.41	-1339.85	0.000000	0.00	9.3590	0.1188					9.268	0.498
			6.95	9.00	-3197.752	1626.6	1545.8	0.93	9.5322	-3109.8	101798.31	62.9	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	103742.89	-1944.57	0.000000	0.00	9.3587	0.1735					9.265	0.581	Ci computed from Rv
			7.00	10.00	-3947.842	1635.6	1554.8	0.93	9.5876	-3817.0	100483.82	62.6	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	103033.72	-2549.90	0.000000	0.00	9.3588	0.2288					9.256	0.624
			7.08	12.00	-5684.892	1642.1	1561.3	0.94	9.6277	-5473.7	98392.98	62.3	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	101391.43	-2998.45	0.000000	0.00	9.3576	0.2701					9.154	0.510
			7.15	14.00	-7737.770	1652.5	1571.7	0.94	9.6919	-7401.0	95778.40	61.9	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	99450.55	-3672.16	0.000000	0.00	9.3588	0.3331					9.050	0.464
			7.20	16.00	-10106.475	1671.8	1591.0	0.95	9.8109	-9549.3	92378.43	61.2	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	97211.08	-4832.64	0.000000	0.00	9.3668	0.4441					8.970	0.479
			7.26	18.00	-12791.007	1652.7	1571.9	0.94	9.6931	-12232.7	90933.54	61.9	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	94673.00	-3739.46	0.000000	0.00	9.3540	0.3391					8.676	0.281
			7.30	20.00	-15791.367	1668.4	1587.6	0.95	9.7899	-14952.7	87193.28	61.3	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	91836.33	-4643.05	0.000000	0.00	9.3643	0.4257					8.541	0.293
			7.34	22.00	-19107.554	1665.4	1584.6	0.95	9.7714	-18127.1	84212.33	61.4	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	88701.06	-4488.73	0.000000	0.00	9.3608	0.4106					8.305	0.232
			7.38	24.00	-22739.569	1625.0	1544.2	0.93	9.5223	-22137.1	82879.71	63.0	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	85267.19	-2387.48	0.000000	0.00	9.3106	0.2117					7.904	0.077
Calibration freq. >>>			7.41	26.00	-26687.410	1606.0	1525.2	0.92	9.4051	-26304.0	80021.04	63.8	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	81534.73	-1513.69	0.000000	0.00	9.2731	0.1320					7.601	0.017
			7.45	28.00	-30951.079	1558.0	1477.2	0.89	9.1091	-31497.7	78282.24	65.9	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	77503.67	778.57	0.000000	0.00	9.1742	-0.0651					7.192	-0.097
			7.48	30.00	-35530.576	1546.7	1465.9	0.88	9.0395	-36436.8	74189.38	66.4	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	73174.01	1015.37	0.000000	0.00	9.1232	-0.0837					6.934	-0.109
Derived parameters		esd +/-	sums >>>>>>>>>>>>					14	2.93E-03	-1.140431170	655.014601	311.497264	-121140.201896053			-6.28E-14	1.33
D	6.17E-01
a	106766.18	10.86
Li / uH	9.366262	0.0010		y obs - y calc
b = Ci / pF	0.945444	0.0230
chi^2/(n-2)	0.111
esd of fit	0.33
Rv0	1518.92
				Incremental error analysis
X-over /MHz	53.48					R0	49.83	49.89	49.95	err contrib.
				Li	8.994662	9.366262	9.016323	0.010831
				Ci	6.173432	0.945444	6.158601	-0.007416

				C2	10.1	10.3	10.5
				Li	8.828914	9.366262	9.182070	0.176578
				Ci	6.289328	0.945444	6.047431	-0.120949

				Accuracy
				esd Li	0.176912
				esd Ci	0.123333

				Li' vs Log(f)

## Sheet2
Variation of C1'm (nominal capacitance, measured @ 1.5915MHz) with frequency					To see details of fitting calculation show columns N-P
			Log(f)	f	Dial	Ci'm	esd C1'm	y	esd y	fit	weight	x	wx	wy	wxy	wx^2	y calc	e	we	we^2		<Ci'm>	obs-calc
				/MHz		/pF		1/C1'm			w					obs-calc
			6.20	1.59	5.255	100.28	0.63	0.009973	0.000062	1	2.59E+08	0.0	18510	2581223	184.59	1.32E+00	0.009966	0.000006	1605.6	0.010		100.34	-0.062
			6.23	1.70	5.255	100.28	0.13	0.009973	0.000012	1	6.47E+09	14.1	91191128129	64530565	909405179	1.29E+12	0.009966	0.000006	40116.0	0.249		100.34	-0.062
			6.26	1.80	5.255	100.28	0.10	0.009973	0.000010	1	1.01E+10	27.9	282190009358	100829008	2814144986	7.88E+12	0.009966	0.000006	62643.3	0.388		100.34	-0.062
			6.28	1.90	5.255	100.28	0.10	0.009973	0.000010	1	1.01E+10	42.5	429876959394	100829008	4286955774	1.83E+13	0.009966	0.000006	62603.3	0.388		100.34	-0.062
			6.30	2.00	5.255	100.28	0.08	0.009973	0.000008	1	1.58E+10	57.9	914917168455	157545325	9124028055	5.30E+13	0.009966	0.000006	97751.8	0.605		100.34	-0.062
			6.34	2.20	5.255	100.28	0.08	0.009973	0.000008	1	1.58E+10	91.1	1438806687165	157545325	14348525781	1.31E+14	0.009966	0.000006	97609.8	0.603		100.34	-0.062
			6.38	2.40	5.255	100.28	0.08	0.009973	0.000008	1	1.58E+10	127.4	2012590445752	157545325	20070594719	2.56E+14	0.009966	0.000006	97454.4	0.601		100.34	-0.062
			6.41	2.60	5.265	100.30	0.08	0.009970	0.000008	1	1.58E+10	166.9	2638942301153	157665154	26310231150	4.40E+14	0.009966	0.000004	57421.0	0.208		100.34	-0.037
			6.45	2.80	5.265	100.30	0.08	0.009970	0.000008	1	1.58E+10	209.5	3313197715673	157665154	33032551605	6.94E+14	0.009966	0.000004	57238.3	0.207		100.34	-0.036
			6.48	3.00	5.257	100.28	0.08	0.009972	0.000008	1	1.58E+10	255.3	4034125074954	157569286	40228346149	1.03E+15	0.009966	0.000006	88938.7	0.501		100.34	-0.057
			6.54	3.50	5.255	100.28	0.08	0.009973	0.000008	1	1.58E+10	383.6	6060260655785	157545325	60436059295	2.32E+15	0.009966	0.000006	96357.6	0.588		100.34	-0.061
			6.60	4.00	5.250	100.26	0.08	0.009974	0.000008	1	1.58E+10	531.7	8394796174116	157485434	83727868264	4.46E+15	0.009966	0.000007	115634.2	0.847		100.34	-0.074
			6.65	4.50	5.245	100.25	0.08	0.009975	0.000008	1	1.58E+10	699.4	11038485928824	157425558	110109410343	7.72E+15	0.009967	0.000009	134811.8	1.152		100.34	-0.086
			6.70	5.00	5.245	100.25	0.08	0.009975	0.000008	1	1.58E+10	887.0	13997953995410	157425558	139630241899	1.24E+16	0.009967	0.000008	134009.9	1.138		100.34	-0.085
			6.78	6.00	5.230	100.21	0.08	0.009979	0.000008	1	1.58E+10	1321.2	20819757954626	157246020	207757063283	2.75E+16	0.009967	0.000012	191752.5	2.333		100.33	-0.122
			6.85	7.00	5.215	100.17	0.08	0.009983	0.000008	1	1.57E+10	1834.4	28863075866195	157066618	288129674323	5.29E+16	0.009967	0.000016	249027.8	3.941		100.33	-0.159
			6.90	8.00	5.250	100.26	0.08	0.009974	0.000008	1	1.58E+10	2426.6	38316167063147	157485434	382157103246	9.30E+16	0.009967	0.000007	107526.9	0.732		100.33	-0.069
			6.95	9.00	5.260	100.29	0.08	0.009971	0.000008	1	1.58E+10	3097.8	48962936279638	157605232	488221895655	1.52E+17	0.009967	0.000004	64808.7	0.266		100.33	-0.041
			7.00	10.00	5.300	100.39	0.08	0.009961	0.000008	1	1.59E+10	3847.8	61065820725428	158085032	608286189296	2.35E+17	0.009967	-0.000006	-98411.3	0.610		100.33	0.062
			7.08	12.00	5.330	100.47	0.08	0.009954	0.000008	1	1.59E+10	5584.9	88902656129696	158445521	884901143491	4.97E+17	0.009968	-0.000014	-226548.2	3.224		100.32	0.143
			7.15	14.00	5.345	100.50	0.08	0.009950	0.000008	1	1.59E+10	7637.8	121765880948746	158625970	1211548654856	9.30E+17	0.009968	-0.000019	-295955.7	5.494		100.32	0.187
			7.20	16.00	5.380	100.59	0.08	0.009941	0.000008	1	1.60E+10	10006.5	160094749166580	159047552	1591505340131	1.60E+18	0.009969	-0.000028	-448049.4	12.547		100.31	0.283
			7.26	18.00	5.385	100.61	0.08	0.009940	0.000008	1	1.60E+10	12691.0	203147518612310	159107839	2019238747785	2.58E+18	0.009970	-0.000030	-480019.9	14.395		100.30	0.303
			7.30	20.00	5.380	100.59	0.08	0.009941	0.000008	1	1.60E+10	15691.4	251047995827449	159047552	2495673518766	3.94E+18	0.009971	-0.000030	-472693.5	13.966		100.30	0.298
			7.34	22.00	5.387	100.61	0.08	0.009939	0.000008	1	1.60E+10	19007.6	304319257767077	159131958	3024709305627	5.78E+18	0.009971	-0.000032	-515559.2	16.602		100.29	0.325
			7.38	24.00	5.325	100.45	0.08	0.009955	0.000008	1	1.59E+10	22639.6	360203838785019	158385401	3585777152125	8.15E+18	0.009972	-0.000018	-279921.3	4.925		100.28	0.177
			7.41	26.00	5.265	100.30	0.08	0.009970	0.000008	1	1.58E+10	26587.4	420452547498783	157665154	4191908139716	1.12E+19	0.009974	-0.000004	-55787.4	0.197		100.27	0.035
			7.45	28.00	5.160	100.03	0.08	0.009997	0.000008	1	1.56E+10	30851.1	482706306295377	156409981	4825416744300	1.49E+19	0.009975	0.000022	342895.0	7.515		100.25	-0.220
			7.48	30.00	5.045	99.74	0.08	0.010026	0.000008	1	1.55E+10	35430.6	547907815459695	155042931	5493260325587	1.94E+19	0.009976	0.000050	772739.3	38.613		100.24	-0.500
			sums >>>>>>>					29	4.23E+11		3193223658642440	4212585447	31843519361570	6.96E+19			7.22E-07	132.844
Derived parameters		esd					Chi^2(/n-2) >>>>>		4.920
Denom	1.92E+31					esd of fit >>>>>>		2.218
a	0.009966	0.000004					Ci'measured vs Log(f) (with expectation value)
C1' /pF	100.338	0.043
b	2.71E-10	3.29E-10
L1 /nH	0.271	0.329

KT	11.63	< Transformer const. = ( N R0 / k Ri) + (1/N) -1
L2 / nH	900.00	20.00
L1(true)	77.68	1.75	< corrected for L2

				C1'm obs-calc vs Log(f)

## Sheet3
Stray capacitance of voltage sampling network				Predicted C1 = C1' + C1s = C2 [( (1+Cx/C2) N R0 / k Ri ) + (1/N) -1]
		esd	Deriv dC1/dpar	(der*esd)^2
N =	12
R0 =	49.89	0.06	2.59	0.02
C2+Cx /pF =	10.3	0.2	11.63	5.41
Cx /pF	0	0
C2 /pF	10.3
1+Cx/C2	1
Ri =	49.77	0.06	-2.6	0.02
k =	0.959	0.0112	-134.72	2.28
				7.73	<<< sum
KT	11.627	< Transformer const. = [ (1+Cx/C2) N R0 / k Ri ] + (1/N) -1

C1' =	100.338	1.004
C1 pred =	119.753	2.781
C1s =	19.415	2.956

C1 prediction for bridge evaluation (see sheet 5)
R0 =	50
C1 pred =	120.038

Self capacitance of transformer secondary				Ci' = Ci apparent + ( Csh * Ro / Ri ) + [ L2 / ( N Ro Rv ) ] + ( LH / Ri^2 ) - Cis - [ L0 / ( R0 Ri ) ] + (C0 Ro / Ri) - [(N-1)Cx R0/Ri] -Cx C2/(N(Cx+C2)
parameter		esd +/-
Csh / pF	0.00	0.00	< shield protrusion capacitance. Set to 0 for gen. side earth.
L2 / nH	900.00	20.00	< inductance of upper voltage sampling arm
L2 fit	1		< =1 when L2 is included in fit on sheet 1, 0 otherwise.
RV0	1518.92		< optimal Rv
LH / nH	15.00	2.00	< inductance of sec. load resistor
Cis / pF	0.40	0.10	< strays accross sec winding
L0 / nH	13.00	3.00	< inductance of pri. transmission line
C0 / pF	3.50	0.50	< capacitance of pri. transmission line
Cneut /pF	0.00	0.00

Series for Ci'		esd +/-	Variance
Ci apparent	0.95	0.02	0.001	< from fit on sheet 1
Corr for Csh	0.00	0.00	0.000
Corr for Cx	0.00	0.00	0.000
Corr for L2	0.00	0.02	0.000	< inclusion depends on whether L2 is included in fit on sheet 1.
Corr for LH	6.06	0.81	0.652
Corr for Cis	-0.40	0.10	0.010
Corr for L0	-5.24	1.21	1.460
Corr for C0	3.51	0.50	0.251
Ci' / pF	4.87	1.54	2.37	Only valid if parameters have been filled in correctly!

lw / mm	228.00	< length of secondary winding wire
Ci' pred / pF	7.64	< predicted Ci' if phase velocity = c

## Sheet4
Data reduction for 8-48 reference capacitor with 82pF in parallel. Data for dial readings 0 and 18 are excluded from fit (end effects).
		Dial	C /pF	esd C	fit	w	wy	wx	wx^2	wxy	y calc	obs-calc	we	we^2
		x	y					C calc	e
		0	89.0	0.20	0	0.000	0.00	0.00	0.00	0.00	86.92	2.08	0.00	0.000
		1	90.0	0.20	1	25.000	2250.00	25.00	25.00	2250.00	89.46	0.54	13.48	7.269
		2	92.0	0.20	1	25.000	2300.00	50.00	100.00	4600.00	92.00	0.00	-0.06	0.000
		3	94.5	0.20	1	25.000	2362.50	75.00	225.00	7087.50	94.54	-0.04	-1.10	0.049
		4	97.0	0.20	1	25.000	2425.00	100.00	400.00	9700.00	97.09	-0.09	-2.14	0.184
		5	99.5	0.20	1	25.000	2487.50	125.00	625.00	12437.50	99.63	-0.13	-3.19	0.406
		6	102.0	0.20	1	25.000	2550.00	150.00	900.00	15300.00	102.17	-0.17	-4.23	0.715
		7	104.5	0.20	1	25.000	2612.50	175.00	1225.00	18287.50	104.71	-0.21	-5.27	1.111
		8	107.0	0.20	1	25.000	2675.00	200.00	1600.00	21400.00	107.25	-0.25	-6.31	1.593
		9	110.0	0.20	1	25.000	2750.00	225.00	2025.00	24750.00	109.79	0.21	5.15	1.060
		10	112.0	0.20	1	25.000	2800.00	250.00	2500.00	28000.00	112.34	-0.34	-8.39	2.819
		11	115.0	0.20	1	25.000	2875.00	275.00	3025.00	31625.00	114.88	0.12	3.06	0.375
		12	117.5	0.20	1	25.000	2937.50	300.00	3600.00	35250.00	117.42	0.08	2.02	0.164
		13	120.0	0.20	1	25.000	3000.00	325.00	4225.00	39000.00	119.96	0.04	0.98	0.038
		14	122.5	0.20	1	25.000	3062.50	350.00	4900.00	42875.00	122.50	0.00	-0.06	0.000
		15	125.0	0.20	1	25.000	3125.00	375.00	5625.00	46875.00	125.04	-0.04	-1.10	0.049
		16	128.0	0.20	1	25.000	3200.00	400.00	6400.00	51200.00	127.59	0.41	10.36	4.289
		17	130.0	0.20	1	25.000	3250.00	425.00	7225.00	55250.00	130.13	-0.13	-3.19	0.406
		18	131.0	0.20	0	0.000	0.00	0.00	0.00	0.00	132.67	-1.67	0.00	0.000
		sums >>>>>>>>>			17	425.000	46662.50	3825.00	44625.00	445887.50			-1.49E-11	20.527
D	4335000
a	86.919118		Capacitance vs dial reading
esd a	0.014087
b	2.541667
esd b	0.000134
Chi^2/n-2)	1.368464
esd fit	1.169814

## Sheet5
Bridge performance evaluation				FT50-61, 12 turns 0.9mm wire + 2 turn quadrature winding with 250 Ohm pot + 120 Ohms. Gen side shield earth. Lsec = 9.25uH @ 1.5915MHz. L-bal coil.
N	12
R0	50
C2 /pF	10.3
Li /uH	9.366
Rv0	1515.58	<<< Guide value (estimated value for zero phase error at 0Hz)
Rvset	1520.00	<<< Selected value
C1s /pF	19.415
L1 /nH	0.271
C1 pred	120.038								| << - - show hidden columns for details of fit - - >> |
Cv set 0	130.338	<<< Guide value (est. value for zero magnitude error at 0Hz)
C1 set	119.600
Cv set	129.900	<<< Selected value
			x						y				| - - - Determining the gradient of Phi vs f: y=phi, x=f
			f	Rv	C1'm	C1'0	Cv	Xcv	Xcvset	U	Rbal	Xbal	|Zbal|	(|Zbal|/R0)-1	Phi				esd phi	fit	weight					Phi calc	obs-calc
		Log(f)	/MHz	/Ohms	/pF	/pF	/pF				Ohms	Ohms	Ohms	Magn. err.	/deg.					w	wx	wy	wxy	wx^2	Y calc	e	we	we^2
		6.20	1.6	1518.9	100.28	100.28	129.99	-769.3	-769.8	3.44E-07	49.965	0.000	49.965	-0.0007	0.000				0.0500	1	400.00	636.6	0.1	0.2	1013.2	-0.013	0.013	5.204	0.067702
		6.23	1.7	1519.6	100.28	100.28	129.99	-720.2	-720.7	3.53E-07	49.969	-0.009	49.969	-0.0006	-0.010				0.0500	1	400.00	680.0	-4.0	-6.7	1156.0	-0.013	0.003	1.162	0.003378
		6.26	1.8	1519.0	100.28	100.28	129.99	-680.2	-680.7	3.61E-07	49.966	-0.001	49.966	-0.0007	-0.001				0.0500	1	400.00	720.0	-0.5	-0.8	1296.0	-0.013	0.012	4.729	0.055911
		6.28	1.9	1519.1	100.28	100.28	129.99	-644.4	-644.8	3.67E-07	49.966	-0.002	49.966	-0.0007	-0.002				0.0500	1	400.00	760.0	-1.0	-1.9	1444.0	-0.013	0.011	4.250	0.045147
Calibration freq. >>>		6.30	2.0	1518.6	100.28	100.28	129.99	-612.2	-612.6	3.72E-07	49.964	0.004	49.964	-0.0007	0.004				0.0500	1	400.00	800.0	1.7	3.3	1600.0	-0.013	0.017	6.947	0.120645
		6.34	2.2	1519.0	100.28	100.28	129.99	-556.5	-556.9	3.82E-07	49.965	-0.001	49.965	-0.0007	-0.001				0.0500	1	400.00	880.0	-0.4	-0.9	1936.0	-0.013	0.012	4.976	0.061894
		6.38	2.4	1519.1	100.28	100.28	129.99	-510.1	-510.5	3.89E-07	49.966	-0.002	49.966	-0.0007	-0.002				0.0500	1	400.00	960.0	-0.8	-2.0	2304.0	-0.014	0.012	4.639	0.053804
		6.41	2.6	1518.6	100.30	100.30	130.02	-470.8	-471.2	3.95E-07	49.955	0.000	49.955	-0.0009	0.000				0.0500	1	400.00	1040.0	0.1	0.3	2704.0	-0.014	0.014	5.650	0.079816
		6.45	2.8	1518.2	100.30	100.30	130.02	-437.2	-437.6	4.00E-07	49.954	0.004	49.954	-0.0009	0.004				0.0500	1	400.00	1120.0	1.7	4.8	3136.0	-0.014	0.018	7.343	0.134791
		6.48	3.0	1518.8	100.28	100.28	130.00	-408.1	-408.4	4.04E-07	49.963	0.000	49.963	-0.0007	0.001				0.0500	1	400.00	1200.0	0.2	0.7	3600.0	-0.014	0.015	5.967	0.089022
		6.54	3.5	1518.2	100.28	100.28	129.99	-349.8	-350.1	4.11E-07	49.964	0.005	49.964	-0.0007	0.006				0.0500	1	400.00	1400.0	2.4	8.3	4900.0	-0.015	0.021	8.348	0.174221
		6.60	4.0	1518.1	100.26	100.26	129.98	-306.1	-306.3	4.16E-07	49.969	0.006	49.969	-0.0006	0.007				0.0500	1	400.00	1600.0	2.8	11.3	6400.0	-0.016	0.023	9.035	0.204085
		6.65	4.5	1518.4	100.25	100.25	129.97	-272.1	-272.3	4.20E-07	49.974	0.005	49.974	-0.0005	0.005				0.0500	1	400.00	1800.0	2.1	9.6	8100.0	-0.016	0.021	8.577	0.183910
		6.70	5.0	1518.7	100.25	100.25	129.97	-244.9	-245.0	4.22E-07	49.974	0.003	49.974	-0.0005	0.003				0.0500	1	400.00	2000.0	1.2	6.1	10000.0	-0.017	0.020	7.895	0.155847
		6.78	6.0	1519.8	100.21	100.21	129.93	-204.2	-204.2	4.25E-07	49.990	-0.001	49.990	-0.0002	-0.001				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.018	0.017	0.000	0.000000
		6.85	7.0	1526.6	100.17	100.17	129.89	-175.0	-175.0	4.25E-07	50.007	-0.024	50.007	0.0001	-0.028				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.019	-0.009	0.000	0.000000
		6.90	8.0	1537.0	100.26	100.26	129.98	-153.1	-153.2	4.24E-07	49.976	-0.058	49.976	-0.0005	-0.067				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.020	-0.047	0.000	0.000000
		6.95	9.0	1545.8	100.29	100.29	130.00	-136.0	-136.1	4.22E-07	49.967	-0.078	49.967	-0.0007	-0.089				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.021	-0.068	0.000	0.000000
		7.00	10.0	1554.8	100.39	100.39	130.11	-122.3	-122.5	4.20E-07	49.929	-0.096	49.929	-0.0014	-0.110				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.022	-0.087	0.000	0.000000
		7.08	12.0	1561.3	100.47	100.47	130.18	-101.9	-102.1	4.19E-07	49.898	-0.095	49.898	-0.0020	-0.109				0.0500	1	400.00	4800.0	-43.8	-525.5	57600.0	-0.025	-0.085	-33.859	2.866016
		7.15	14.0	1571.7	100.50	100.50	130.22	-87.3	-87.5	4.16E-07	49.883	-0.101	49.883	-0.0023	-0.116				0.0500	1	400.00	5600.0	-46.4	-649.6	78400.0	-0.027	-0.089	-35.543	3.158209
		7.20	16.0	1591.0	100.59	100.59	130.31	-76.3	-76.6	4.11E-07	49.849	-0.119	49.849	-0.0030	-0.137				0.0500	1	400.00	6400.0	-54.9	-877.8	102400.0	-0.029	-0.108	-43.071	4.637815
		7.26	18.0	1571.9	100.61	100.61	130.32	-67.8	-68.1	4.16E-07	49.842	-0.081	49.842	-0.0032	-0.093				0.0500	1	400.00	7200.0	-37.0	-666.6	129600.0	-0.032	-0.061	-24.310	1.477489
		7.30	20.0	1587.6	100.59	100.59	130.31	-61.1	-61.3	4.12E-07	49.847	-0.091	49.847	-0.0031	-0.105				0.0500	1	400.00	8000.0	-42.0	-840.9	160000.0	-0.034	-0.071	-28.393	2.015407
		7.34	22.0	1584.6	100.61	100.61	130.33	-55.5	-55.7	4.13E-07	49.839	-0.080	49.839	-0.0032	-0.092				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.036	-0.056	0.000	0.000000
		7.38	24.0	1544.2	100.45	100.45	130.17	-50.9	-51.1	4.25E-07	49.898	-0.030	49.898	-0.0020	-0.034				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.039	0.005	0.000	0.000000
Calibration freq. >>>		7.41	26.0	1525.2	100.30	100.30	130.02	-47.1	-47.1	4.31E-07	49.956	-0.007	49.956	-0.0009	-0.008				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.041	0.033	0.000	0.000000
		7.45	28.0	1477.2	100.03	100.03	129.75	-43.8	-43.8	4.45E-07	50.057	0.043	50.057	0.0011	0.050				0.0500	1	400.00	11200.0	19.9	556.6	313600.0	-0.043	0.093	37.258	3.470486
		7.48	30.0	1465.9	99.74	99.74	129.46	-41.0	-40.8	4.50E-07	50.170	0.054	50.170	0.0034	0.062				0.0500	1	400.00	12000.0	24.9	746.5	360000.0	-0.046	0.108	43.195	4.664493
									Sums >>>>		21	8.40E+03	70796.6	-173.6	-2224.9	1251189.2		-2.10E-01	2.04E-14	23.720089
									Parameter		esd					Chi^2/n-2 >>>>>>>>>>>			1.248426
phase error vs. f									D	5.50E+09					esd of an obs of unit weight >>>			1.117
									a	-0.010853	0.016856	<<< phase intercept at 0Hz
									b	-0.001164	0.001381	<<< gradient [degrees / MHz]
									tp	0.0032	0.003836	ns <<< time delay

									Phase error, obs-calc

Magnitude error vs f