## Sheet1
FT50-61, 12 turns 0.9mm wire. Lsec = 9.25uH @ 1.5915MHz. 500pF variable ref. cap. Faraday shield earthed on load side.					D. W. Knight. June 2007				Version	1.00
		esd +/-					Show columns N-Q to see deatails of fitting procedure.					See sheet 2 for C1'm vs frequency
N =	12.00					Li' = N R0 C2 Rv					Ci computed from Rv
R0 =	49.89	0.06
C2 / pF	10.30	0.20					from fit	from fit
L2 / nH	50.00	20.00	< inductance of C2 (estimated)					Ci =	Li =
L2 fit	1	< 1 to include L2 in fit, 0 to exclude it.
1/(N R0 C2)	1.62E+08					5.795	8.983
			Log (f)	f	x	Rv	esd Rv	Li'	Corr(L2)	y	esd y	fit	weight	w x	w x^2	w y	w x y	y calc	obs-calc	w e	w e^2	Li' calc	Li'					Rv Calc	obs-calc	Computed	Computed
				/MHz	-(2 pi f)^2	Ohms	Ohms	/ uH					w					e			/ uH	obs-calc					Li /uH	Ci /pF
			6.15	1.4	-77.378	1463.2	0.88	9.0227	-4.4	110827	66.50	1	2.26E-04	-0.017497848	1.353943	25.062008	-1939.240478155	110879	-51.3	-0.011612	0.60	9.0185	0.0042					1462.5	0.7	8.986	6.402
			6.18	1.5	-88.826	1464.2	0.88	9.0288	-5.1	110751	66.45	1	2.26E-04	-0.020114281	1.786680	25.078988	-2227.677219608	110812	-61.3	-0.013891	0.85	9.0239	0.0050					1463.4	0.8	8.987	6.429
			6.20	1.6	-101.065	1463.7	0.88	9.0258	-5.8	110788	66.48	1	2.26E-04	-0.022869954	2.311346	25.070266	-2533.720141954	110741	46.7	0.010571	0.49	9.0296	-0.0038	<<< same measurement freq. as Lsec					1464.3	-0.6	8.978	5.276
			6.23	1.7	-114.093	1465.9	0.88	9.0393	-6.5	110621	66.38	1	2.27E-04	-0.025895704	2.954509	25.107779	-2864.612478020	110666	-44.8	-0.010167	0.46	9.0357	0.0037					1465.3	0.6	8.986	6.131
			6.26	1.8	-127.910	1466.4	0.88	9.0424	-7.3	110583	66.35	1	2.27E-04	-0.029051670	3.716001	25.116164	-3212.610417295	110586	-3.2	-0.000732	0.00	9.0422	0.0003					1466.4	0.0	8.982	5.764
			6.28	1.9	-142.517	1466.4	0.88	9.0424	-8.1	110582	66.35	1	2.27E-04	-0.032369299	4.613178	25.115975	-3579.455665745	110501	80.6	0.018306	1.48	9.0490	-0.0066					1467.5	-1.1	8.975	5.173
			6.30	2.0	-157.914	1468.0	0.88	9.0523	-9.0	110460	66.28	1	2.28E-04	-0.035944570	5.676139	25.143180	-3970.451879399	110412	48.4	0.011023	0.53	9.0563	-0.0040					1468.6	-0.6	8.978	5.432
			6.34	2.2	-191.076	1470.0	0.88	9.0646	-10.9	110308	66.19	1	2.28E-04	-0.043611519	8.333095	25.177005	-4810.709902267	110220	88.4	0.020186	1.79	9.0719	-0.0073					1471.2	-1.2	8.975	5.276
			6.38	2.4	-227.396	1473.9	0.88	9.0887	-12.9	110014	66.02	1	2.29E-04	-0.052177072	11.864841	25.243329	-5740.224133490	110009	5.0	0.001145	0.01	9.0891	-0.0004					1474.0	-0.1	8.981	5.717
			6.41	2.6	-266.874	1477.6	0.89	9.1115	-15.1	109737	65.85	1	2.31E-04	-0.061543423	16.424346	25.306184	-6753.565175731	109781	-43.9	-0.010131	0.45	9.1078	0.0036					1477.0	0.6	8.985	5.903
			6.45	2.8	-309.511	1482.1	0.89	9.1392	-17.4	109401	65.65	1	2.32E-04	-0.071811213	22.226346	25.382696	-7856.218421909	109533	-132.4	-0.030725	4.07	9.1282	0.0110					1480.3	1.8	8.992	6.167
			6.48	3.0	-355.306	1483.7	0.89	9.1491	-20.0	109280	65.58	1	2.33E-04	-0.082614426	29.353381	25.409499	-9028.141166790	109268	12.4	0.002887	0.04	9.1501	-0.0010					1483.9	-0.2	8.980	5.704
			6.54	3.5	-483.611	1493.6	0.90	9.2101	-27.0	108549	65.15	1	2.36E-04	-0.113953032	55.108896	25.577353	-12369.479513848	108524	24.5	0.005766	0.14	9.2122	-0.0021					1493.9	-0.3	8.978	5.689
			6.60	4.0	-631.655	1504.9	0.90	9.2798	-35.1	107726	64.66	1	2.39E-04	-0.151097212	95.441262	25.768896	-16277.043929088	107666	59.2	0.014149	0.84	9.2849	-0.0051					1505.7	-0.8	8.975	5.646
			6.70	5.0	-986.960	1535.2	0.92	9.4667	-53.7	105580	63.38	1	2.49E-04	-0.245692058	242.488341	26.282921	-25940.203555276	105607	-27.2	-0.006776	0.18	9.4642	0.0024					1534.8	0.4	8.980	5.769
			6.78	6.0	-1421.223	1576.2	0.95	9.7195	-75.3	102811	61.73	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	103091	-279.9	0.000000	0.00	9.6931	0.0264					1571.9	4.3	8.999	5.939	Li computed from Rv vs Log(f)
			6.85	7.0	-1934.442	1634.7	0.98	10.0802	-98.8	99105	59.52	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	100116	-1011.0	0.000000	0.00	9.9785	0.1017					1618.2	16.5	9.057	6.267
			6.90	8.0	-2526.619	1695.8	1.02	10.4570	-124.4	95505	57.38	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	96685	-1179.1	0.000000	0.00	10.3296	0.1274					1675.1	20.7	9.068	6.213
			6.95	9.0	-3197.752	1778.4	1.07	10.9663	-150.2	91038	54.71	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	92795	-1757.0	0.000000	0.00	10.7590	0.2073					1744.8	33.6	9.114	6.298
			7.00	10.0	-3947.842	1876.6	1.13	11.5719	-175.7	86241	51.85	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	88448	-2207.3	0.000000	0.00	11.2837	0.2882					1829.9	46.7	9.150	6.310
			7.08	12.0	-5684.892	2143.0	1.29	13.2146	-221.6	75452	45.40	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	78381	-2928.9	0.000000	0.00	12.7222	0.4924					2063.1	79.9	9.206	6.272
			7.15	14.0	-7737.770	2579.0	1.55	15.9032	-250.6	62630	37.73	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	66484	-3854.0	0.000000	0.00	14.9847	0.9184					2430.1	148.9	9.283	6.261
			7.18	15.0	-8882.644	2867.0	1.72	17.6791	-258.8	56305	33.94	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	59849	-3543.8	0.000000	0.00	16.6368	1.0423					2698.0	169.0	9.256	6.165
			7.20	16.0	-10106.475	3273.0	1.96	20.1826	-257.9	49290	29.73	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	52757	-3467.0	0.000000	0.00	18.8628	1.3199					3059.0	214.0	9.249	6.113
			7.23	17.0	-11409.263	3768.0	2.26	23.2350	-252.9	42786	25.82	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	45206	-2420.9	0.000000	0.00	21.9977	1.2373					3567.3	200.7	9.161	5.985
			7.26	18.0	-12791.007	4666.0	2.80	28.7724	-228.9	34527	20.85	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	37199	-2672.3	0.000000	0.00	26.7182	2.0543					4332.9	333.1	9.184	5.986
			7.28	19.0	-14251.709	6036.0	3.62	37.2204	-197.2	26670	16.12	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	28734	-2063.7	0.000000	0.00	34.5653	2.6551					5605.4	430.6	9.136	5.926
			7.30	20.0	-15791.367	8611.0	5.17	53.0989	-153.2	18680	11.30	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	19811	-1131.0	0.000000	0.00	50.0906	3.0083					8123.1	487.9	9.062	5.857
			7.32	21.0	-17409.982	17706.0	10.62	109.1823	-82.1	9077	5.50	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	10430	-1353.3	0.000000	0.00	95.1263	14.0560					15426.5	2279.5	9.086	5.868
Derived parameters		esd +/-	sums >>>>>>>>>>>>					15	3.46E-03	-1.006243280	503.652304	379.842245	-109103.354078573			-4.00E-14	11.91
D	7.32E-01
a	111327.15	25.1				y obs - y calc
Li / uH	8.982535	0.0020
b = Ci / pF	5.795349	0.0658	< apparent value
chi^2/(n-2)	0.916340
esd of fit	0.96
Rv0	1456.69
				Incremental error analysis
X-over /MHz	22.06					R0	49.83	49.89	49.95	err contrib
				Li	8.959693	8.982535	8.981270	0.010789
				Ci	6.297673	5.795349	6.282543	-0.007565

				C2	10.1	10.3	10.5
				Li	8.796297	8.982535	9.144665	0.174184
				Ci	6.414655	5.795349	6.170287	-0.122184

				Accuracy
				esd Li	0.174530
				esd Ci	0.139001

				Li' vs Log(f)

## Sheet2
Variation of C1'm (nominal capacitance, measured @ 1.5915MHz) with frequency					To see details of fitting calculation show columns N-P
			Log(f)	f	Dial	Ci'm	esd C1'm	y	esd y	fit	weight	x	wx	wy	wxy	wx^2	y calc	e	we	we^2		<Ci'm>	obs-calc
				/MHz		/pF		1/C1'm			w					obs-calc
see sheet 4 for capcal			6.15	1.40	6.55	109.1	0.14	0.009163	0.000012	1	7.24E+09	-22.62	-163759179507.3	66326584.36	-1500459988.49	3.70E+12	0.009171	-0.000008	-57791.1	0.461		109.04	0.095
			6.18	1.50	6.55	109.1	0.14	0.009163	0.000012	1	7.24E+09	-11.17	-80883595422.0	66326584.36	-741104095.79	9.04E+11	0.009171	-0.000009	-62956.8	0.548		109.04	0.103
			6.20	1.60	6.55	109.1	0.14	0.009163	0.000012	1	7.24E+09	1.06	7707546186.4	66326584.36	70621168.82	8.21E+09	0.009172	-0.000009	-68478.7	0.648		109.03	0.113
			6.23	1.70	6.55	109.1	0.14	0.009163	0.000012	1	7.24E+09	14.09	102014245317.9	66326584.36	934715805.34	1.44E+12	0.009173	-0.000010	-74356.8	0.764		109.02	0.122
			6.26	1.80	6.55	109.1	0.14	0.009163	0.000012	1	7.24E+09	27.91	202036501972.5	66326584.36	1851179813.78	5.64E+12	0.009174	-0.000011	-80591.2	0.897		109.01	0.132
			6.28	1.90	6.55	109.1	0.14	0.009163	0.000012	1	7.24E+09	42.52	307774316150.3	66326584.36	2820013194.12	1.31E+13	0.009175	-0.000012	-87181.9	1.050		109.00	0.143
			6.30	2.00	6.55	109.1	0.14	0.009163	0.000012	1	7.24E+09	57.91	419227687851.2	66326584.36	3841215946.37	2.43E+13	0.009176	-0.000013	-94128.8	1.224		108.98	0.155
			6.34	2.20	6.55	109.1	0.14	0.009163	0.000012	1	7.24E+09	91.08	659281103822.4	66326584.36	6040729566.61	6.00E+13	0.009178	-0.000015	-109091.3	1.644		108.96	0.179
			6.38	2.40	6.54	108.9	0.14	0.009181	0.000012	1	7.18E+09	127.4	915022312505.6	65939204.83	8400370194.28	1.17E+14	0.009180	0.000001	4120.4	0.002		108.93	-0.007
			6.41	2.60	6.54	108.9	0.14	0.009181	0.000012	1	7.18E+09	166.87	1198576915290.4	65939204.83	11003545659.1	2.00E+14	0.009182	-0.000002	-13553.6	0.026		108.90	0.022
			6.45	2.80	6.53	108.7	0.14	0.009198	0.000012	1	7.13E+09	209.51	1493090863617.1	65553496.12	13734165022.32	3.13E+14	0.009185	0.000013	95680.3	1.285		108.87	-0.159
			6.48	3.00	6.53	108.7	0.14	0.009198	0.000012	1	7.13E+09	255.31	1819451342069.7	65553496.12	16736185044.72	4.65E+14	0.009188	0.000011	75338.2	0.796		108.84	-0.125
			6.54	3.50	6.53	108.7	0.14	0.009198	0.000012	1	7.13E+09	383.61	2733823372217.0	65553496.12	25147017004.01	1.05E+15	0.009196	0.000003	18345.3	0.047		108.74	-0.030
			6.60	4.00	6.53	108.7	0.14	0.009198	0.000012	1	7.13E+09	531.65	3788868022386.9	65553496.12	34851823110.89	2.01E+15	0.009205	-0.000007	-47415.8	0.315		108.64	0.079
			6.70	5.00	6.51	108.3	0.14	0.009235	0.000012	1	7.02E+09	886.96	6222631658773.8	64787073.87	57463571549.01	5.52E+15	0.009227	0.000007	51428.4	0.377		108.37	-0.086
			6.78	6.00	6.49	107.9	0.14	0.009271	0.000012	1	6.91E+09	1321.22	9124622896297.1	64027283.09	84594321207.75	1.21E+16	0.009254	0.000017	114969.7	1.914		108.06	-0.194
			6.85	7.00	6.47	107.4	0.14	0.009308	0.000012	1	6.80E+09	1834.44	12470694952052.0	63274089.31	116072676216.86	2.29E+16	0.009286	0.000021	144796.2	3.084		107.69	-0.246
			6.90	8.00	6.46	107.2	0.14	0.009326	0.000012	1	6.74E+09	2426.62	16366432353469.8	62899955.53	152634209994.09	3.97E+16	0.009323	0.000003	18930.8	0.053		107.26	-0.032
			6.95	9.00	6.44	106.8	0.14	0.009363	0.000012	1	6.64E+09	3097.75	20564346397350.2	62156592.66	192545698400.48	6.37E+16	0.009365	-0.000002	-13236.2	0.026		106.78	0.023
			7.00	10.00	6.40	106.0	0.14	0.009438	0.000012	1	6.43E+09	3847.84	24743018982519.8	60689365.31	233523074235.21	9.52E+16	0.009412	0.000026	167877.1	4.383		106.25	-0.294
			7.08	12.00	6.35	104.9	0.14	0.009533	0.000013	1	6.18E+09	5584.89	34501448269036.2	58891536.35	328902878204.54	1.93E+17	0.009520	0.000013	79784.9	1.030		105.04	-0.142
			7.15	14.00	6.29	103.6	0.14	0.009649	0.000013	1	5.88E+09	7637.77	44948212246360.4	56786535.52	433722488878.75	3.43E+17	0.009648	0.000001	7796.4	0.010		103.65	-0.014
			7.18	15.00	6.25	102.8	0.14	0.009728	0.000013	1	5.70E+09	8782.64	50027501995990.1	55414527.9	486686068848.41	4.39E+17	0.009719	0.000009	50995.6	0.457		102.89	-0.095
			7.20	16.00	6.22	102.2	0.14	0.009788	0.000013	1	5.56E+09	10006.47	55613968616863.9	54401774.36	544369989989.01	5.56E+17	0.009796	-0.000007	-40746.2	0.299		102.09	0.076
			7.23	17.00	6.17	101.1	0.14	0.009890	0.000014	1	5.33E+09	11309.26	60314565114785.7	52744467.71	596501040694.33	6.82E+17	0.009877	0.000013	68967.7	0.892		101.25	-0.132
			7.26	18.00	6.13	100.3	0.14	0.009972	0.000014	1	5.16E+09	12691.01	65470976053924.0	51445870.86	652899922887.09	8.31E+17	0.009963	0.000009	48132.0	0.449		100.37	-0.094
			7.28	19.00	6.10	99.7	0.14	0.010035	0.000014	1	5.03E+09	14151.71	71199072186710.3	50487640.09	714486378343.08	1.01E+18	0.010054	-0.000019	-95694.9	1.820		99.46	0.189
			7.30	20.00	6.05	98.6	0.14	0.010141	0.000014	1	4.82E+09	15691.37	75694377183437.9	48920187.3	767624614741.09	1.19E+18	0.010150	-0.000009	-43100.3	0.385		98.52	0.087
			7.32	21.00	6.01	97.7	0.14	0.010238	0.000015	1	4.64E+09	17309.98	80377876486275.1	47540737.33	822929315258.36	1.39E+18	0.010251	-0.000013	-58839.5	0.746		97.55	0.121
			sums >>>>>>>					29	1.90E+11		641041976848304.0	1779172706.19	6308146266894.14	6.87E+18			-1.15E-06	25.633
Derived parameters		esd +/-					Chi^2(/n-2) >>>>>		0.949
Denom	8.93E+29					esd of fit >>>>>>		0.974
a	0.009172	0.000003
C1' /pF	109.028	0.032					Ci'measured vs Log(f) (with expectation value)
b	6.23E-08	4.49E-10
L1 /nH	62.330	0.449	< effective value

KT	11.63	< Xformer const. = ( N R0 / k Ri) + (1/N) -1
L2 /nH	50	20
L1(true)	66.630	1.777	nH	< corrected for L2

				C1'm obs-calc vs Log(f)

## Sheet3
Stray capacitance of voltage sampling network				Predicted C1 = C1' + C1s = C2 [( N R0 / k Ri) + (1/N) -1]
parameter		esd +/-	Deriv dC1/dpar	(der*esd)^2
N =	12
R0 =	49.89	0.06	2.59	0.02
C2 /pF =	10.3	0.2	11.63	5.41
Ri =	49.76	0.06	-2.6	0.02
k =	0.959	0.0112	-134.75	2.28
				7.74	<<< sum, used for calculating esd of predicted C1.
KT	11.629	< Transformer constant = ( N R0 / k Ri) + (1/N) -1

C1' =	109.028	1.091
C1 pred =	119.779	2.781
C1s =	10.752	2.987	< estimated stray capacitance

C1 Prediction for bridge evaluation (see sheet 5)
R0 =	50	< target load resistance
C1 pred =	120.06

Self capacitance of transformer secondary				Ci' = Ci apparent + ( Csh * Ro / Ri ) + [ L2 / ( N Ro Rv ) ] + ( LH / Ri^2 ) - Cis - [ L0 / ( R0 Ri ) ] + C0 Ro / Ri
parameter		esd +/-
Csh / pF	1.60	0.10	< shield protrusion capacitance. Set to 0 for gen. side earth.
L2 / nH	50.00	20.00	< inductance of upper voltage sampling arm
L2 fit	1		< =1 when L2 is included in fit on sheet 1, 0 otherwise.
RV0	1456.69		< optimal Rv
LH / nH	6.00	2.00	< inductance of sec. load resistor
Cis / pF	0.40	0.10	< strays accross sec winding
L0 / nH	13.00	3.00	< inductance of pri. transmission line
C0 / pF	3.50	0.50	< capacitance of pri. transmission line

		esd +/-	Variance
Ci apparent	5.80	0.07	0.004	< from fit on sheet 1
Corr for Csh	1.60	0.10	0.010
Corr for L2	0.00	0.02	0.001	< inclusion depends on whether L2 is included in fit on sheet 1.
Corr for LH	2.42	0.81	0.652
Corr for Cis	-0.40	0.10	0.010
Corr for L0	-5.24	1.21	1.460
Corr for C0	3.51	0.50	0.251
Ci' / pF	7.70	1.55	2.39	Only valid if parameters have been filled in correctly!

lw / mm	228.00	< length of secondary winding wire
Ci' pred / pF	7.64	< predicted Ci' if phase velocity = c

## Sheet4
Data reduction for 500pF ref. cap.					C =	69.83	*exp( -	0.32	* x) -	56.91325	+	24.040788	* x
Non linearity at low settings is corrected by subtracting an exponential function f(x) =( C0-a)Exp(-px)					where x is the dial reading
seed for C0	12.92	<<< seed values are required because the fitting process is iterative
seed for -a	56.91	<<<
C0 - a	69.83					Show columns J-M for details of fitting calculation.
p	0.32
		Dial	f(x)	C meas	esd C	y	fit	w	wy	wx	wx^2	wxy	y calc	obs-calc	we	we^2		C calc	obs-calc	w ec	w (ec)^2
		x		/ pF		C - f(x)					e					ec
0 - 25pF range		0	69.83	15.05	1.06	-54.8	1	0.890	-48.74	0.00	0.00	0.00	-56.91	2.13	1.90	4.049		12.92	2.13	1.898	4.049
		1	50.71	17.40	0.87	-33.3	1	1.322	-44.04	1.32	1.32	-44.04	-32.87	-0.43	-0.57	0.250		17.83	-0.43	-0.575	0.250
0 - 250pF range		2	36.82	28.50	0.91	-8.3	1	1.197	-9.96	2.39	4.79	-19.92	-8.83	0.51	0.61	0.312		27.99	0.51	0.611	0.312
		3	26.74	41.50	0.97	14.8	1	1.072	15.82	3.21	9.64	47.46	15.21	-0.45	-0.48	0.214		41.95	-0.45	-0.479	0.214
		4	19.42	58.00	1.03	38.6	1	0.939	36.23	3.76	15.02	144.92	39.25	-0.67	-0.62	0.416		58.67	-0.67	-0.625	0.416
		5	14.10	76.00	1.10	61.9	1	0.820	50.79	4.10	20.51	253.94	63.29	-1.39	-1.14	1.583		77.39	-1.39	-1.140	1.583
		6	10.24	96.00	1.18	85.8	1	0.713	61.18	4.28	25.68	367.07	87.33	-1.57	-1.12	1.756		97.57	-1.57	-1.119	1.756
		7	7.43	118.00	1.27	110.6	1	0.618	68.34	4.33	30.28	478.35	111.37	-0.81	-0.50	0.402		118.81	-0.81	-0.498	0.402
		8	5.40	141.00	1.36	135.6	1	0.537	72.88	4.30	34.40	583.08	135.41	0.19	0.10	0.019		140.81	0.19	0.101	0.019
		9	3.92	163.00	1.45	159.1	1	0.474	75.45	4.27	38.42	679.09	159.45	-0.37	-0.18	0.066		163.37	-0.37	-0.177	0.066
		10	2.85	187.00	1.55	184.2	1	0.417	76.85	4.17	41.73	768.49	183.49	0.66	0.27	0.181		186.34	0.66	0.275	0.181
		11	2.07	212.00	1.65	209.9	1	0.368	77.30	4.05	44.55	850.27	207.54	2.40	0.88	2.117		209.60	2.40	0.883	2.117
		12	1.50	236.50	1.75	235.0	1	0.328	77.09	3.94	47.24	925.04	231.58	3.42	1.12	3.843		233.08	3.42	1.123	3.843
0 - 2500pF range		13	1.09	260.00	3.54	258.9	1	0.080	20.66	1.04	13.49	268.59	255.62	3.29	0.26	0.865		256.71	3.29	0.263	0.865
		14	0.79	280.00	3.62	279.2	1	0.076	21.31	1.07	14.96	298.29	279.66	-0.45	-0.03	0.015		280.45	-0.45	-0.034	0.015
		15	0.57	302.00	3.71	301.4	1	0.073	21.92	1.09	16.36	328.85	303.70	-2.27	-0.17	0.376		304.27	-2.27	-0.165	0.376
		16	0.42	327.00	3.81	326.6	1	0.069	22.52	1.10	17.65	360.35	327.74	-1.16	-0.08	0.092		328.16	-1.16	-0.080	0.092
		17	0.30	350.00	3.90	349.7	1	0.066	22.99	1.12	19.00	390.85	351.78	-2.08	-0.14	0.285		352.08	-2.08	-0.137	0.285
		18	0.22	375.00	4.00	374.8	1	0.063	23.42	1.13	20.25	421.63	375.82	-1.04	-0.07	0.068		376.04	-1.04	-0.065	0.068
		19	0.16	400.00	4.10	399.8	1	0.059	23.79	1.13	21.48	451.93	399.86	-0.02	0.00	0.000		400.02	-0.02	-0.001	0.000
		20	0.12	425.00	4.20	424.9	1	0.057	24.09	1.13	22.68	481.73	423.90	0.98	0.06	0.055		424.02	0.98	0.056	0.055
		21	0.08	448.00	4.29	447.9	1	0.054	24.32	1.14	23.94	510.62	447.94	-0.03	0.00	0.000		448.03	-0.03	-0.001	0.000
		22	0.06	470.00	4.38	469.9	1	0.052	24.50	1.15	25.23	538.91	471.98	-2.05	-0.11	0.218		472.05	-2.05	-0.107	0.218
		23	0.04	498.00	4.49	498.0	1	0.050	24.68	1.14	26.22	567.60	496.02	1.93	0.10	0.185		496.07	1.93	0.096	0.185
		24	0.03	520.00	4.58	520.0	1	0.048	24.79	1.14	27.46	594.92	520.07	-0.10	0.00	0.000		520.10	-0.10	-0.005	0.000
		25	0.02	542.00	4.67	542.0	1	0.046	24.87	1.15	28.68	621.81	544.11	-2.13	-0.10	0.208		544.13	-2.13	-0.098	0.208
		sums >>>>>>>>>					26	10.489	813.03	58.65	590.98	10869.79			0.00	17.576				0.000	17.576
D	2758.883
a	-56.913247
esd a	0.156871
b	24.040788
esd b	0.002784
Chi^2/n-2)	0.732319
esd fit	0.855756

## Sheet5
Bridge performance evaluation - change Rvset and Cvset to see the effect of different calibration choices.
N	12
R0	50
C2 /pF	10.3
Li /uH	8.983
Rv0	1453.48	<<< Guide value (estimated value for zero phase error at 0Hz).
Rvset	1460.20	<<< selected value (usually set to balance bridge at some chosen 'calibration' frequency, but can be arbitrary)
C1s /pF	10.752
L1 /nH	62.330
C1 pred	120.064					Show columns W-Z for details of fit.
Cv set 0	130.364	<<< Guide value (estimated value for zero magnitude error to zero at 0Hz)
C1 set	120.064
Cv set	130.364	<<< selected value (see note for Rvset)
			x					y				Determining the gradient of Phi vs. f.
			f	Rv	C1'm	C1'0	Cv	Xcv	Xcvset	U	Rbal	Xbal	|Zbal|	(|Zbal|/R0)-1	Phi				esd Phi	fit	weight					Phi calc	obs-calc
		Log(f)	/MHz	Ohms	/pF	/pF	/pF					Magn. err.	deg.				esd y		w	wx	wy	wxy	wx^2	y calc	e	we	we^2
		6.15	1.4	1463.2	109.14	109.07	130.12	-873.69	-872.04	3.46E-07	50.10	0.00	50.10	0.002	-0.004				0.0075	1	17778	24889	-70	-97	34844	-0.004	0.000	-0.7	0.000
		6.18	1.5	1464.2	109.14	109.07	130.12	-815.45	-813.90	3.58E-07	50.10	-0.02	50.10	0.002	-0.020				0.0075	1	17778	26667	-363	-545	40000	-0.014	-0.006	-106.8	0.642
		6.20	1.6	1463.7	109.14	109.07	130.12	-764.48	-763.03	3.68E-07	50.10	-0.01	50.10	0.002	-0.012				0.0075	1	17778	28444	-208	-332	45511	-0.025	0.013	236.0	3.134
		6.23	1.7	1465.9	109.14	109.07	130.12	-719.51	-718.15	3.77E-07	50.11	-0.04	50.11	0.002	-0.045				0.0075	1	17778	30222	-806	-1370	51378	-0.035	-0.010	-174.6	1.715
		6.26	1.8	1466.4	109.14	109.07	130.12	-679.54	-678.25	3.85E-07	50.12	-0.04	50.12	0.002	-0.051				0.0075	1	17778	32000	-910	-1638	57600	-0.046	-0.005	-91.3	0.468
Calibration freq >>		6.28	1.9	1466.4	109.14	109.07	130.12	-643.77	-642.55	3.92E-07	50.11	-0.04	50.11	0.002	-0.049				0.0075	1	17778	33778	-878	-1668	64178	-0.057	0.007	128.1	0.923
		6.30	2.0	1468.0	109.14	109.07	130.12	-611.58	-610.43	3.98E-07	50.12	-0.06	50.12	0.002	-0.070				0.0075	1	17778	35556	-1242	-2484	71111	-0.067	-0.003	-48.4	0.132
		6.34	2.2	1470.0	109.14	109.07	130.12	-555.99	-554.93	4.08E-07	50.13	-0.08	50.13	0.003	-0.091				0.0075	1	17778	39111	-1618	-3559	86044	-0.088	-0.003	-49.5	0.138
		6.38	2.4	1473.9	108.93	108.85	129.90	-510.49	-508.69	4.16E-07	50.21	-0.09	50.21	0.004	-0.103				0.0075	1	17778	42667	-1833	-4399	102400	-0.109	0.006	110.2	0.682
		6.41	2.6	1477.6	108.93	108.85	129.90	-471.22	-469.56	4.22E-07	50.22	-0.12	50.22	0.004	-0.138				0.0075	1	17778	46222	-2459	-6395	120178	-0.130	-0.008	-141.4	1.124
		6.45	2.8	1482.1	108.71	108.64	129.69	-438.28	-436.02	4.27E-07	50.30	-0.13	50.30	0.006	-0.152				0.0075	1	17778	49778	-2702	-7567	139378	-0.151	-0.001	-9.4	0.005
		6.48	3.0	1483.7	108.71	108.64	129.69	-409.06	-406.95	4.31E-07	50.30	-0.14	50.30	0.006	-0.159				0.0075	1	17778	53333	-2831	-8492	160000	-0.173	0.013	237.2	3.165
		6.54	3.5	1493.6	108.71	108.64	129.69	-350.62	-348.81	4.37E-07	50.31	-0.20	50.31	0.006	-0.224				0.0075	1	17778	62222	-3985	-13946	217778	-0.225	0.001	20.4	0.023
		6.60	4.0	1504.9	108.71	108.64	129.69	-306.79	-305.21	4.39E-07	50.31	-0.25	50.31	0.006	-0.283				0.0075	1	17778	71111	-5038	-20154	284444	-0.278	-0.005	-96.2	0.520
		6.70	5.0	1535.2	108.29	108.22	129.27	-246.24	-244.17	4.39E-07	50.48	-0.34	50.48	0.010	-0.381				0.0075	1	17778	88889	-6765	-33823	444444	-0.383	0.003	52.0	0.152
		6.78	6.0	1576.2	107.86	107.79	128.84	-205.88	-203.48	4.32E-07	50.65	-0.43	50.65	0.013	-0.491				0.0075	1	17778	106667	-8734	-52404	640000	-0.489	-0.002	-42.9	0.104
		6.85	7.0	1634.7	107.44	107.37	128.42	-177.05	-174.41	4.20E-07	50.82	-0.56	50.82	0.016	-0.630				0.0075	0	0	0	0	0	0	-0.594	-0.035	0.0	0.000
		6.90	8.0	1695.8	107.23	107.15	128.21	-155.17	-152.61	4.07E-07	50.90	-0.66	50.91	0.018	-0.738				0.0075	0	0	0	0	0	0	-0.700	-0.038	0.0	0.000
		6.95	9.0	1778.4	106.80	106.73	127.78	-138.39	-135.65	3.90E-07	51.07	-0.76	51.08	0.022	-0.858				0.0075	0	0	0	0	0	0	-0.805	-0.053	0.0	0.000
		7.00	10.0	1876.6	105.96	105.89	126.94	-125.38	-122.09	3.73E-07	51.41	-0.86	51.41	0.028	-0.957				0.0075	0	0	0	0	0	0	-0.911	-0.046	0.0	0.000
		7.08	12.0	2143.0	104.90	104.83	125.88	-105.36	-101.74	3.30E-07	51.83	-1.06	51.84	0.037	-1.171				0.0075	0	0	0	0	0	0	-1.121	-0.049	0.0	0.000
		7.15	14.0	2579.0	103.63	103.57	124.62	-91.22	-87.20	2.77E-07	52.35	-1.27	52.37	0.047	-1.392				0.0075	0	0	0	0	0	0	-1.332	-0.059	0.0	0.000
		7.18	15.0	2867.0	102.79	102.73	123.78	-85.72	-81.39	2.51E-07	52.70	-1.36	52.72	0.054	-1.478				0.0075	0	0	0	0	0	0	-1.438	-0.040	0.0	0.000
		7.20	16.0	3273.0	102.16	102.10	123.15	-80.77	-76.30	2.21E-07	52.97	-1.46	52.99	0.060	-1.578				0.0075	0	0	0	0	0	0	-1.543	-0.034	0.0	0.000
		7.23	17.0	3768.0	101.11	101.05	122.10	-76.67	-71.81	1.94E-07	53.41	-1.54	53.44	0.069	-1.650				0.0075	1	17778	302222	-29331	-498632	5137778	-1.649	-0.001	-21.5	0.026
		7.26	18.0	4666.0	100.28	100.21	121.27	-72.91	-67.83	1.58E-07	53.78	-1.66	53.80	0.076	-1.764				0.0075	1	17778	320000	-31363	-564533	5760000	-1.754	-0.010	-178.8	1.798
		7.28	19.0	6036.0	99.65	99.59	120.64	-69.43	-64.26	1.23E-07	54.05	-1.76	54.08	0.082	-1.861				0.0075	1	17778	337778	-33077	-628462	6417778	-1.860	-0.001	-18.4	0.019
		7.30	20.0	8611.0	98.61	98.55	119.60	-66.54	-61.04	8.67E-08	54.51	-1.86	54.55	0.091	-1.951				0.0075	1	17778	355556	-34686	-693725	7111111	-1.965	0.014	246.8	3.425
		7.32	21.0	17706.0	97.67	97.61	118.67	-63.87	-58.14	4.25E-08	54.94	-1.99	54.97	0.099	-2.073				0.0075	1	17778	373333	-36858	-774022	7840000	-2.070	-0.003	-50.8	0.145
					Sums >>>>		21	373333	2460444.44	-205756.27	-3318246.67	34825955.56			0	18.34
	Phase error vs f					Parameter		+/- esd					Chi^2/(n-2) >>>>		0.965346
					D	6.95E+12					esd of an obs of unit w >>>>			0.983
					a	0.143742	0.002200	phase intercept at 0Hz
					b	-0.105436	0.000228	degrees / MHz
					tp	0.292878	0.000633	ns (path difference)

					Phase err. Deviation from linearity vs. Log(f)

		Magnitude error vs f