## Sheet1
FT50-61, 12 turns 0.9mm wire. Gen side shield earth. C from load terminal to 1-turn winding loaded with 100 Ohm pot. Lsec = 9.25uH @ 1.5915MHz.. L-bal coil.					D. W. Knight. June 2007.			Version	1.01
		esd +/-					Show columns N-Q to see deatails of fitting procedure.					See sheet 2 for C1'm vs frequency
N =	12.00					Li' = N R0 C2 Rv
R0 =	49.89	0.06					from fit	from fit
C2+Cx/pF	10.30	0.20	< Adjusted to reproduce Li as measured elsewhere.					Ci =	Li =
L2 / nH	900.00	20.00					Li computed from Rv
L2 fit	1	< 1 to include L2 in fit, 0 to exclude it.
1/(N R0 C2)	1.62E+08					0.504	8.934
			Log (f)	f	x	Rv	esd Rv	Li'	Corr(L2)	y	esd y	fit	weight	w x	w x^2	w y	w x y	y calc	obs-calc	w e	w e^2	Li' calc	Li'					Computed	Computed
				/MHz	-(2 pi f)^2	Ohms	Ohms	/ uH					w					e			/ uH	obs-calc					Li /uH	Ci /pF
			6.20	1.59	-100.000	1447.9	0.87	8.9283	-103.8	111899.12	67.2	1	2.21E-04	-0.022143124	2.214314	24.777944	-2477.796154687	111883.03	16.09	0.003564	0.06	8.9296	-0.0013					8.924	-0.695
			6.23	1.70	-114.093	1448.2	0.87	8.9302	-118.4	111861.31	67.2	1	2.22E-04	-0.025274124	2.883591	24.779837	-2827.196710416	111875.92	-14.61	-0.003237	0.05	8.9290	0.0012					8.926	-0.406
			6.26	1.80	-127.910	1447.9	0.87	8.9283	-132.8	111870.14	67.2	1	2.21E-04	-0.028323266	3.622831	24.771527	-3168.527851884	111868.96	1.18	0.000262	0.00	8.9284	-0.0001					8.923	-0.544
			6.28	1.90	-142.517	1447.8	0.87	8.9277	-148.0	111862.70	67.2	1	2.21E-04	-0.031553354	4.496892	24.766458	-3529.643511623	111861.60	1.10	0.000245	0.00	8.9278	-0.0001					8.922	-0.542
Calibration freq. >>>			6.30	2.00	-157.914	1447.3	0.87	8.9246	-164.0	111885.36	67.2	1	2.21E-04	-0.034938021	5.517191	24.754367	-3909.052940099	111853.84	31.52	0.006973	0.22	8.9271	-0.0025					8.918	-0.734
			6.34	2.20	-191.076	1447.8	0.87	8.9277	-198.4	111812.28	67.2	1	2.21E-04	-0.042304220	8.083302	24.755295	-4730.131446462	111837.13	-24.84	-0.005500	0.14	8.9257	0.0020					8.920	-0.404
			6.38	2.40	-227.396	1447.9	0.87	8.9283	-236.1	111766.85	67.2	1	2.21E-04	-0.050352473	11.449935	24.748655	-5627.737362392	111818.82	-51.97	-0.011508	0.60	8.9242	0.0041					8.919	-0.306
			6.41	2.60	-266.874	1446.9	0.87	8.9222	-277.3	111803.08	67.2	1	2.21E-04	-0.059012622	15.748941	24.722492	-6597.792926034	111798.92	4.16	0.000919	0.00	8.9225	-0.0003					8.911	-0.551
			6.45	2.80	-309.511	1446.6	0.87	8.9203	-321.6	111781.96	67.3	1	2.21E-04	-0.068412297	21.174344	24.707573	-7647.260430755	111777.44	4.52	0.001000	0.00	8.9207	-0.0004					8.908	-0.550
			6.48	3.00	-355.306	1445.6	0.87	8.9142	-369.5	111811.66	67.3	1	2.21E-04	-0.078425984	27.865204	24.679981	-8768.939420615	111754.35	57.31	0.012649	0.72	8.9187	-0.0046					8.900	-0.697
			6.54	3.50	-483.611	1445.6	0.87	8.9142	-502.9	111678.23	67.3	1	2.21E-04	-0.106746478	51.623730	24.650530	-11921.258048712	111689.69	-11.46	-0.002529	0.03	8.9132	0.0009					8.895	-0.512
			6.60	4.00	-631.655	1444.7	0.87	8.9086	-657.3	111593.76	67.4	1	2.20E-04	-0.139250420	87.958180	24.601222	-15539.477319951	111615.08	-21.32	-0.004700	0.10	8.9069	0.0017					8.883	-0.503
			6.65	4.50	-799.438	1443.2	0.87	8.8994	-832.7	111534.97	67.4	1	2.20E-04	-0.175873033	140.599578	24.537231	-19615.993472251	111530.51	4.46	0.000980	0.00	8.8997	-0.0004					8.868	-0.543
			6.70	5.00	-986.960	1441.9	0.87	8.8913	-1029.0	111440.02	67.5	1	2.20E-04	-0.216736211	213.910067	24.472194	-24153.087746622	111436.00	4.02	0.000882	0.00	8.8917	-0.0003					8.852	-0.543
			6.78	6.00	-1421.223	1442.1	0.87	8.8926	-1481.5	110971.87	67.5	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	111217.14	-245.27	0.000000	0.00	8.8732	0.0194					8.836	-0.366
			6.85	7.00	-1934.442	1446.8	0.87	8.9216	-2010.0	110078.11	67.3	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	110958.48	-880.37	0.000000	0.00	8.8520	0.0695					8.845	-0.080
			6.90	8.00	-2526.619	1451.0	0.87	8.9475	-2617.7	109145.96	67.1	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	110660.02	-1514.07	0.000000	0.00	8.8279	0.1196					8.847	0.067
			6.95	9.00	-3197.752	1454.5	0.87	8.9690	-3305.1	108189.66	66.9	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	110321.78	-2132.11	0.000000	0.00	8.8007	0.1683					8.841	0.137	Ci computed from Rv
			7.00	10.00	-3947.842	1456.0	0.87	8.9783	-4076.1	107303.74	66.8	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	109943.74	-2639.99	0.000000	0.00	8.7704	0.2079					8.821	0.140
			7.08	12.00	-5684.892	1457.4	0.87	8.9869	-5864.0	105408.90	66.8	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	109068.27	-3659.37	0.000000	0.00	8.7008	0.2861					8.761	0.116
			7.15	14.00	-7737.770	1463.6	0.88	9.0251	-7947.7	102853.80	66.5	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	108033.63	-5179.83	0.000000	0.00	8.6221	0.4031					8.718	0.146
			7.20	16.00	-10106.475	1461.0	0.88	9.0091	-10399.1	100599.54	66.6	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	106839.82	-6240.28	0.000000	0.00	8.5296	0.4795					8.614	0.092
			7.26	18.00	-12791.007	1447.4	0.87	8.9253	-13285.1	98756.57	67.2	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	105486.83	-6730.26	0.000000	0.00	8.4195	0.5058					8.440	-0.008
			7.30	20.00	-15791.367	1447.9	0.87	8.9283	-16395.7	95607.29	67.2	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	103974.67	-8367.38	0.000000	0.00	8.3077	0.6206					8.336	-0.004
			7.34	22.00	-19107.554	1441.5	0.86	8.8889	-19926.8	92573.39	67.5	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	102303.33	-9729.93	0.000000	0.00	8.1813	0.7076					8.188	-0.030
			7.38	24.00	-22739.569	1441.6	0.86	8.8895	-23712.9	88779.49	67.5	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	100472.81	-11693.32	0.000000	0.00	8.0525	0.8370					8.068	-0.025
Calibration freq. >>>			7.41	26.00	-26687.410	1447.5	0.87	8.9259	-27716.3	84317.58	67.2	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	98483.12	-14165.54	0.000000	0.00	7.9240	1.0019					7.969	-0.004
			7.45	28.00	-30951.079	1454.3	0.87	8.9678	-31994.1	79515.98	66.9	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	96334.25	-16818.28	0.000000	0.00	7.7925	1.1753					7.867	0.014
			7.48	30.00	-35530.576	1465.4	0.88	9.0362	-36449.7	74215.71	66.4	0	0.00E+00	0.000000000	0.000000	0.000000	0.000000000	94026.21	-19810.51	0.000000	0.00	7.6643	1.3720					7.778	0.036
Derived parameters		esd +/-	sums >>>>>>>>>>>>					14	3.09E-03	-1.079345627	597.148099	345.725307	-120513.895342503			-7.33E-14	1.93
D	6.82E-01
a	111933.43	11.86
Li / uH	8.933882	0.0009		y obs - y calc
b = Ci / pF	0.503994	0.0270
chi^2/(n-2)	0.161
esd of fit	0.4
Rv0	1448.8
				Incremental error analysis
X-over /MHz	75					R0	49.83	49.89	49.95	err contrib.
				Li	8.994662	8.933882	9.016323	0.010831
				Ci	6.173432	0.503994	6.158601	-0.007416

				C2	10.1	10.3	10.5
				Li	8.828914	8.933882	9.182070	0.176578
				Ci	6.289328	0.503994	6.047431	-0.120949

				Accuracy
				esd Li	0.176912
				esd Ci	0.124148

				Li' vs Log(f)

## Sheet2
Variation of C1'm (nominal capacitance, measured @ 1.5915MHz) with frequency					To see details of fitting calculation show columns N-P
			Log(f)	f	Dial	Ci'm	esd C1'm	y	esd y	fit	weight	x	wx	wy	wxy	wx^2	y calc	e	we	we^2		<Ci'm>	obs-calc
				/MHz		/pF		1/C1'm			w					obs-calc
			6.20	1.59	8.720	109.08	0.63	0.009167	0.000053	1	3.62E+08	0.0	25921	3322803	237.62	1.85E+00	0.009168	-0.000001	-311.9	0.000		109.07	0.010
			6.23	1.70	8.720	109.08	0.13	0.009167	0.000011	1	9.06E+09	14.1	127700170685	83070082	1170675664	1.80E+12	0.009168	-0.000001	-7772.0	0.007		109.07	0.010
			6.26	1.80	8.720	109.08	0.10	0.009167	0.000008	1	1.42E+10	27.9	395166866555	129797002	3622643817	1.10E+13	0.009168	-0.000001	-12103.5	0.010		109.07	0.010
			6.28	1.90	8.720	109.08	0.10	0.009167	0.000008	1	1.42E+10	42.5	601981379265	129797002	5518590514	2.56E+13	0.009168	-0.000001	-12060.9	0.010		109.07	0.010
			6.30	2.00	8.720	109.08	0.08	0.009167	0.000007	1	2.21E+10	57.9	1281211023162	202807816	11745345027	7.42E+13	0.009168	-0.000001	-18775.0	0.016		109.07	0.010
			6.34	2.20	8.720	109.08	0.08	0.009167	0.000007	1	2.21E+10	91.1	2014843585139	202807816	18470831624	1.84E+14	0.009168	-0.000001	-18624.0	0.016		109.07	0.010
			6.38	2.40	8.720	109.08	0.08	0.009167	0.000007	1	2.21E+10	127.4	2818345914924	202807816	25836840753	3.59E+14	0.009168	-0.000001	-18458.6	0.015		109.07	0.010
			6.41	2.60	8.720	109.08	0.08	0.009167	0.000007	1	2.21E+10	166.9	3691718012516	202807816	33843372415	6.16E+14	0.009168	-0.000001	-18278.8	0.015		109.07	0.010
			6.45	2.80	8.720	109.08	0.08	0.009167	0.000007	1	2.21E+10	209.5	4634959877915	202807816	42490426611	9.71E+14	0.009168	-0.000001	-18084.7	0.015		109.07	0.010
			6.48	3.00	8.710	109.06	0.08	0.009170	0.000007	1	2.21E+10	255.3	5642809253664	202666084	51741818299	1.44E+15	0.009168	0.000001	29362.6	0.039		109.07	-0.016
			6.54	3.50	8.705	109.04	0.08	0.009171	0.000007	1	2.21E+10	383.6	8474672664095	202595243	77717685793	3.25E+15	0.009168	0.000002	53540.7	0.130		109.07	-0.029
			6.60	4.00	8.700	109.03	0.08	0.009172	0.000007	1	2.21E+10	531.7	11739767357352	202524418	107673054942	6.24E+15	0.009168	0.000004	77791.4	0.274		109.07	-0.042
			6.65	4.50	8.700	109.03	0.08	0.009172	0.000007	1	2.21E+10	699.4	15444684629289	202524418	141653265012	1.08E+16	0.009168	0.000004	78554.0	0.279		109.07	-0.042
			6.70	5.00	8.690	109.01	0.08	0.009174	0.000007	1	2.21E+10	887.0	19567218406365	202382818	179505553174	1.74E+16	0.009168	0.000006	126510.4	0.725		109.07	-0.068
			6.78	6.00	8.670	108.96	0.08	0.009178	0.000007	1	2.20E+10	1321.2	29093145860654	202099816	267018931595	3.84E+16	0.009168	0.000010	222489.1	2.248		109.08	-0.120
			6.85	7.00	8.665	108.94	0.08	0.009179	0.000007	1	2.20E+10	1834.4	40375323011468	202029106	370610771444	7.41E+16	0.009168	0.000011	248274.8	2.801		109.08	-0.134
			6.90	8.00	8.690	109.01	0.08	0.009174	0.000007	1	2.21E+10	2426.6	53533592330305	202382818	491105935707	1.30E+17	0.009168	0.000006	133502.3	0.808		109.08	-0.072
			6.95	9.00	8.695	109.02	0.08	0.009173	0.000007	1	2.21E+10	3097.8	68371322234320	202453610	627151038886	2.12E+17	0.009168	0.000005	113011.0	0.579		109.08	-0.061
			7.00	10.00	8.720	109.08	0.08	0.009167	0.000007	1	2.21E+10	3847.8	85124932391975	202807816	780372384622	3.28E+17	0.009167	0.000000	-1515.9	0.000		109.08	0.001
			7.08	12.00	8.740	109.13	0.08	0.009163	0.000007	1	2.22E+10	5584.9	123783773212000	203091479	1134244002555	6.91E+17	0.009167	-0.000004	-88235.9	0.351		109.09	0.047
			7.15	14.00	8.760	109.18	0.08	0.009159	0.000007	1	2.22E+10	7637.8	169599461393556	203375406	1553334542134	1.30E+18	0.009167	-0.000008	-173747.4	1.359		109.09	0.093
			7.20	16.00	8.790	109.26	0.08	0.009152	0.000007	1	2.23E+10	10006.5	222818767040174	203801792	2039337518614	2.23E+18	0.009166	-0.000014	-305703.1	4.197		109.10	0.164
			7.26	18.00	8.790	109.26	0.08	0.009152	0.000007	1	2.23E+10	12691.0	282596481407794	203801792	2586450032098	3.59E+18	0.009166	-0.000013	-293398.0	3.866		109.10	0.157
			7.30	20.00	8.795	109.27	0.08	0.009151	0.000007	1	2.23E+10	15691.4	349569457794793	203872914	3199044729532	5.49E+18	0.009165	-0.000014	-303488.3	4.134		109.11	0.162
			7.34	22.00	8.780	109.23	0.08	0.009155	0.000007	1	2.22E+10	19007.6	422856230731895	203659597	3871070815126	8.04E+18	0.009164	-0.000010	-216822.5	2.113		109.12	0.116
			7.38	24.00	8.765	109.20	0.08	0.009158	0.000007	1	2.22E+10	22639.6	502953959703974	203446429	4605939368552	1.14E+19	0.009164	-0.000006	-128904.0	0.748		109.13	0.069
			7.41	26.00	8.740	109.13	0.08	0.009163	0.000007	1	2.22E+10	26587.4	589284427947318	203091479	5399676474991	1.57E+19	0.009163	0.000000	7586.4	0.003		109.14	-0.004
			7.45	28.00	8.710	109.06	0.08	0.009170	0.000007	1	2.21E+10	30851.1	681875557364473	202666084	6252467451140	2.10E+19	0.009162	0.000008	168563.8	1.286		109.15	-0.091
			7.48	30.00	8.670	108.96	0.08	0.009178	0.000007	1	2.20E+10	35430.6	780176309841611	202099816	7160512847507	2.76E+19	0.009161	0.000017	377098.1	6.458		109.16	-0.204
			sums >>>>>>>					29	5.91E+11		4478447821433160	5417398904	41039326948385	9.79E+19			-1.94E-06	32.503
Derived parameters		esd					Chi^2(/n-2) >>>>>		1.204
Denom	3.78E+31					esd of fit >>>>>>		1.097
a	0.009168	0.000002					Ci'measured vs Log(f) (with expectation value)
C1' /pF	109.072	0.021
b	-2.06E-10	1.37E-10
L1 /nH	-0.206	0.137

KT	11.88	< Transformer const. = ( N R0 / k Ri) + (1/N) -1
L2 / nH	900.00	20.00
L1(true)	75.55	1.69	< corrected for L2

				C1'm obs-calc vs Log(f)

## Sheet3
Stray capacitance of voltage sampling network				Predicted C1 = C1' + C1s = C2 [( (1+Cx/C2) N R0 / k Ri ) + (1/N) -1]
		esd	Deriv dC1/dpar	(der*esd)^2
N =	12
R0 =	49.89	0.06	2.64	0.03
C2+Cx /pF =	10.3	0.2	11.88	5.65
Cx /pF	0	0
C2 /pF	10.3
1+Cx/C2	1
Ri =	49.77	0.06	-2.65	0.03
k =	0.940	0.0200	-140.22	7.86
				13.56	<<< sum
KT	11.880	< Transformer const. = [ (1+Cx/C2) N R0 / k Ri ] + (1/N) -1

C1' =	109.072	1.091
C1 pred =	122.365	3.682
C1s =	13.293	3.841

C1 prediction for bridge evaluation (see sheet 5)
R0 =	50
C1 pred =	122.655

Self capacitance of transformer secondary				Ci' = Ci apparent + ( Csh * Ro / Ri ) + [ L2 / ( N Ro Rv ) ] + ( LH / Ri^2 ) - Cis - [ L0 / ( R0 Ri ) ] + (C0 Ro / Ri) - [(N-1)Cx R0/Ri] -Cx C2/(N(Cx+C2)
parameter		esd +/-
Cqi / pF	2.95	0.20	< neutralising capacitor from load terminal to 1 turn current injection winding // 21.7 Ohms..
L2 / nH	900.00	20.00	< inductance of upper voltage sampling arm
L2 fit	1		< =1 when L2 is included in fit on sheet 1, 0 otherwise.
RV0	1448.80		< optimal Rv
LH / nH	15.00	2.00	< inductance of sec. load resistor
Cis / pF	0.40	0.10	< strays accross sec winding
L0 / nH	13.00	3.00	< inductance of pri. transmission line
C0 / pF	3.50	0.50	< capacitance of pri. transmission line
Cn0 /pF	2.95	0.20	< neutralising capacitor across C0 = Cqi

Series for Ci'		esd +/-	Variance
Ci apparent	0.50	0.03	0.001	< from fit on sheet 1
Corr for Cqi	2.96	0.20	0.040
Corr for Cx	0.00	0.00	0.000
Corr for L2	0.00	0.02	0.001	< inclusion depends on whether L2 is included in fit on sheet 1.
Corr for LH	6.06	0.81	0.652
Corr for Cis	-0.40	0.10	0.010
Corr for L0	-5.24	1.21	1.460
Corr for C0	6.47	0.54	0.291
Ci' / pF	10.35	1.57	2.45	Only valid if parameters have been filled in correctly!

lw / mm	228.00	< length of secondary winding wire
Ci' pred / pF	7.64	< predicted Ci' if phase velocity = c

## Sheet4
Data reduction for 8-48 reference capacitor with 82pF in parallel. Data for dial readings 0 and 18 are excluded from fit (end effects).
		Dial	C /pF	esd C	fit	w	wy	wx	wx^2	wxy	y calc	obs-calc	we	we^2
		x	y					C calc	e
		0	89.0	0.20	0	0.000	0.00	0.00	0.00	0.00	86.92	2.08	0.00	0.000
		1	90.0	0.20	1	25.000	2250.00	25.00	25.00	2250.00	89.46	0.54	13.48	7.269
		2	92.0	0.20	1	25.000	2300.00	50.00	100.00	4600.00	92.00	0.00	-0.06	0.000
		3	94.5	0.20	1	25.000	2362.50	75.00	225.00	7087.50	94.54	-0.04	-1.10	0.049
		4	97.0	0.20	1	25.000	2425.00	100.00	400.00	9700.00	97.09	-0.09	-2.14	0.184
		5	99.5	0.20	1	25.000	2487.50	125.00	625.00	12437.50	99.63	-0.13	-3.19	0.406
		6	102.0	0.20	1	25.000	2550.00	150.00	900.00	15300.00	102.17	-0.17	-4.23	0.715
		7	104.5	0.20	1	25.000	2612.50	175.00	1225.00	18287.50	104.71	-0.21	-5.27	1.111
		8	107.0	0.20	1	25.000	2675.00	200.00	1600.00	21400.00	107.25	-0.25	-6.31	1.593
		9	110.0	0.20	1	25.000	2750.00	225.00	2025.00	24750.00	109.79	0.21	5.15	1.060
		10	112.0	0.20	1	25.000	2800.00	250.00	2500.00	28000.00	112.34	-0.34	-8.39	2.819
		11	115.0	0.20	1	25.000	2875.00	275.00	3025.00	31625.00	114.88	0.12	3.06	0.375
		12	117.5	0.20	1	25.000	2937.50	300.00	3600.00	35250.00	117.42	0.08	2.02	0.164
		13	120.0	0.20	1	25.000	3000.00	325.00	4225.00	39000.00	119.96	0.04	0.98	0.038
		14	122.5	0.20	1	25.000	3062.50	350.00	4900.00	42875.00	122.50	0.00	-0.06	0.000
		15	125.0	0.20	1	25.000	3125.00	375.00	5625.00	46875.00	125.04	-0.04	-1.10	0.049
		16	128.0	0.20	1	25.000	3200.00	400.00	6400.00	51200.00	127.59	0.41	10.36	4.289
		17	130.0	0.20	1	25.000	3250.00	425.00	7225.00	55250.00	130.13	-0.13	-3.19	0.406
		18	131.0	0.20	0	0.000	0.00	0.00	0.00	0.00	132.67	-1.67	0.00	0.000
		sums >>>>>>>>>			17	425.000	46662.50	3825.00	44625.00	445887.50			-1.49E-11	20.527
D	4335000
a	86.919118		Capacitance vs dial reading
esd a	0.014087
b	2.541667
esd b	0.000134
Chi^2/n-2)	1.368464
esd fit	1.169814

## Sheet5
Bridge performance evaluation				FT50-61, 12 turns 0.9mm wire. Gen side shield earth. C from load terminal to 1-turn winding loaded with 100 Ohm pot. Lsec = 9.25uH @ 1.5915MHz.. L-bal coil.
N	12
R0	50
C2 /pF	10.3
Li /uH	8.934
Rv0	1445.61	<<< Guide value (estimated value for zero phase error at 0Hz)
Rvset	1445.50	<<< Selected value
C1s /pF	13.293
L1 /nH	-0.206
C1 pred	122.655								| << - - show hidden columns for details of fit - - >> |
Cv set 0	132.955	<<< Guide value (est. value for zero magnitude error at 0Hz)
C1 set	122.400
Cv set	132.700	<<< Selected value
			x						y				| - - - Determining the gradient of Phi vs f: y=phi, x=f
			f	Rv	C1'm	C1'0	Cv	Xcv	Xcvset	U	Rbal	Xbal	|Zbal|	(|Zbal|/R0)-1	Phi				esd phi	fit	weight					Phi calc	obs-calc
		Log(f)	/MHz	/Ohms	/pF	/pF	/pF				Ohms	Ohms	Ohms	Magn. err.	/deg.					w	wx	wy	wxy	wx^2	Y calc	e	we	we^2
		6.20	1.6	1447.9	109.08	109.08	132.68	-753.7	-753.6	3.76E-07	50.025	-0.030	50.025	0.0005	-0.035				0.0500	1	400.00	636.6	-13.8	-22.0	1013.2	-0.010	-0.025	-9.928	0.246401
		6.23	1.7	1448.2	109.08	109.08	132.68	-705.6	-705.5	3.86E-07	50.025	-0.033	50.025	0.0005	-0.038				0.0500	1	400.00	680.0	-15.2	-25.8	1156.0	-0.010	-0.028	-11.278	0.317992
		6.26	1.8	1447.9	109.08	109.08	132.68	-666.4	-666.3	3.94E-07	50.022	-0.028	50.022	0.0004	-0.032				0.0500	1	400.00	720.0	-12.8	-23.1	1296.0	-0.010	-0.022	-8.947	0.200129
		6.28	1.9	1447.8	109.08	109.08	132.68	-631.4	-631.2	4.02E-07	50.021	-0.026	50.021	0.0004	-0.029				0.0500	1	400.00	760.0	-11.8	-22.4	1444.0	-0.010	-0.020	-7.925	0.157030
Calibration freq. >>>		6.30	2.0	1447.3	109.08	109.08	132.68	-599.8	-599.7	4.08E-07	50.017	-0.019	50.017	0.0003	-0.021				0.0500	1	400.00	800.0	-8.6	-17.2	1600.0	-0.010	-0.012	-4.725	0.055817
		6.34	2.2	1447.8	109.08	109.08	132.68	-545.3	-545.2	4.19E-07	50.018	-0.023	50.018	0.0004	-0.027				0.0500	1	400.00	880.0	-10.6	-23.3	1936.0	-0.010	-0.017	-6.783	0.115015
		6.38	2.4	1447.9	109.08	109.08	132.68	-499.8	-499.7	4.27E-07	50.017	-0.023	50.017	0.0003	-0.026				0.0500	1	400.00	960.0	-10.4	-25.0	2304.0	-0.010	-0.017	-6.606	0.109102
		6.41	2.6	1446.9	109.08	109.08	132.68	-461.4	-461.3	4.34E-07	50.013	-0.011	50.013	0.0003	-0.013				0.0500	1	400.00	1040.0	-5.2	-13.5	2704.0	-0.009	-0.003	-1.400	0.004898
		6.45	2.8	1446.6	109.08	109.08	132.68	-428.4	-428.3	4.40E-07	50.012	-0.008	50.012	0.0002	-0.009				0.0500	1	400.00	1120.0	-3.6	-10.0	3136.0	-0.009	0.000	0.180	0.000081
		6.48	3.0	1445.6	109.06	109.06	132.65	-399.9	-399.8	4.45E-07	50.018	0.004	50.018	0.0004	0.005				0.0500	1	400.00	1200.0	1.8	5.5	3600.0	-0.009	0.014	5.561	0.077309
		6.54	3.5	1445.6	109.04	109.04	132.64	-342.8	-342.7	4.53E-07	50.023	0.005	50.023	0.0005	0.005				0.0500	1	400.00	1400.0	2.1	7.3	4900.0	-0.009	0.014	5.768	0.083179
		6.60	4.0	1444.7	109.03	109.03	132.62	-300.0	-299.8	4.59E-07	50.026	0.011	50.026	0.0005	0.013				0.0500	1	400.00	1600.0	5.1	20.5	6400.0	-0.009	0.022	8.753	0.191519
		6.65	4.5	1443.2	109.03	109.03	132.62	-266.7	-266.5	4.64E-07	50.025	0.019	50.025	0.0005	0.022				0.0500	1	400.00	1800.0	8.8	39.8	8100.0	-0.009	0.031	12.419	0.385603
		6.70	5.0	1441.9	109.01	109.01	132.60	-240.1	-239.9	4.67E-07	50.034	0.026	50.034	0.0007	0.030				0.0500	1	400.00	2000.0	12.1	60.3	10000.0	-0.009	0.039	15.585	0.607194
		6.78	6.0	1442.1	108.96	108.96	132.55	-200.1	-199.9	4.71E-07	50.054	0.024	50.054	0.0011	0.027				0.0500	1	400.00	2400.0	10.9	65.4	14400.0	-0.009	0.036	14.309	0.511866
		6.85	7.0	1446.8	108.94	108.94	132.54	-171.5	-171.3	4.72E-07	50.062	0.002	50.062	0.0012	0.002				0.0500	1	400.00	2800.0	0.9	6.4	19600.0	-0.008	0.011	4.211	0.044340
		6.90	8.0	1451.0	109.01	109.01	132.60	-150.0	-149.9	4.72E-07	50.040	-0.016	50.040	0.0008	-0.018				0.0500	1	400.00	3200.0	-7.1	-57.0	25600.0	-0.008	-0.010	-3.945	0.038916
		6.95	9.0	1454.5	109.02	109.02	132.61	-133.4	-133.3	4.72E-07	50.036	-0.025	50.036	0.0007	-0.029				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.008	-0.021	0.000	0.000000
		7.00	10.0	1456.0	109.08	109.08	132.68	-120.0	-119.9	4.72E-07	50.012	-0.029	50.012	0.0002	-0.033				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.007	-0.026	0.000	0.000000
		7.08	12.0	1457.4	109.13	109.13	132.73	-99.9	-99.9	4.72E-07	49.992	-0.029	49.992	-0.0002	-0.033				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.007	-0.026	0.000	0.000000
		7.15	14.0	1463.6	109.18	109.18	132.78	-85.6	-85.7	4.71E-07	49.973	-0.038	49.973	-0.0005	-0.044				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.006	-0.037	0.000	0.000000
		7.20	16.0	1461.0	109.26	109.26	132.85	-74.9	-75.0	4.72E-07	49.944	-0.030	49.944	-0.0011	-0.035				0.0500	0	0.00	0.0	0.0	0.0	0.0	-0.006	-0.029	0.000	0.000000
		7.26	18.0	1447.4	109.26	109.26	132.85	-66.6	-66.6	4.76E-07	49.943	-0.006	49.943	-0.0011	-0.006				0.0500	1	400.00	7200.0	-2.6	-46.8	129600.0	-0.005	-0.001	-0.526	0.000692
		7.30	20.0	1447.9	109.27	109.27	132.87	-59.9	-60.0	4.76E-07	49.938	-0.006	49.938	-0.0012	-0.007				0.0500	1	400.00	8000.0	-2.8	-55.1	160000.0	-0.005	-0.002	-0.907	0.002059
		7.34	22.0	1441.5	109.23	109.24	132.83	-54.5	-54.5	4.79E-07	49.952	0.003	49.952	-0.0010	0.004				0.0500	1	400.00	8800.0	1.6	34.4	193600.0	-0.004	0.008	3.189	0.025424
		7.38	24.0	1441.6	109.20	109.20	132.79	-49.9	-50.0	4.79E-07	49.966	0.004	49.966	-0.0007	0.004				0.0500	1	400.00	9600.0	1.6	38.5	230400.0	-0.004	0.008	3.009	0.022638
Calibration freq. >>>		7.41	26.0	1447.5	109.13	109.13	132.73	-46.1	-46.1	4.77E-07	49.990	-0.003	49.990	-0.0002	-0.003				0.0500	1	400.00	10400.0	-1.2	-30.0	270400.0	-0.003	0.000	0.028	0.000002
		7.45	28.0	1454.3	109.06	109.06	132.65	-42.9	-42.8	4.75E-07	50.019	-0.008	50.019	0.0004	-0.010				0.0500	1	400.00	11200.0	-3.9	-107.8	313600.0	-0.002	-0.007	-2.892	0.020910
		7.48	30.0	1465.4	108.96	108.96	132.55	-40.0	-40.0	4.72E-07	50.058	-0.017	50.058	0.0012	-0.020				0.0500	1	400.00	12000.0	-7.9	-236.6	360000.0	-0.002	-0.018	-7.149	0.127782
									Sums >>>>		24	9.60E+03	91196.6	-72.4	-437.4	1766789.2		-1.40E-01	0.00E+00	3.345897
									Parameter		esd					Chi^2/n-2 >>>>>>>>>>>			0.152086
phase error vs. f									D	8.64E+09					esd of an obs of unit weight >>>			0.390
									a	-0.010184	0.005575	<<< phase intercept at 0Hz
									b	0.000278	0.000411	<<< gradient [degrees / MHz]
									tp	-0.0008	0.001142	ns <<< time delay

									Phase error, obs-calc

Magnitude error vs f